## Title
Air Quality Standards, Technical Specifications and Technical Reports
Covering | Ambient air
Stationary source emissions
Indoor air
Workplace air
Meteorology
General aspects
© 2023 ISO/TC 146 and CEN/TC 264
Status: 2023-08-28

## Total
Field | Component/Topic | Method/Technique | EN Status | Standard | Title | Published | Stage | ISO/CEN | Committee | Working group | Measurement range | Validation range | Measurement uncertainty | Detection limit LoD | Quantification limit LoQ | Maximum permissible expanded uncertainty | Remarks
ambient air
ambient air | ammonia | diffusive sampling | SM | EN 17346:2020 | Ambient air quality — Standard method for the determination of the concentration of ammonia by diffusive sampling | 2020-05 | standard | CEN | CEN/TC 264 | WG 11
ambient air | As, Cd, Pb, Ni deposition | manual method | SM | EN 15841:2009 | Ambient air quality — Standard method for determination of arsenic, cadmium, lead and nickel in atmospheric deposition | 2009-11 | standard | CEN | CEN/TC 264 | WG 20
ambient air | asbestos | direct transfer TEM |  | ISO 10312:2019 | Ambient air — Determination of asbestos fibres — Direct transfer transmission electron microscopy method | 2019-10 | standard | ISO | ISO/TC 146/SC 3 | WG 1
ambient air | asbestos | indirect-transfer TEM |  | ISO 13794:1999 | Ambient air — Determination of asbestos fibres — Indirect-transfer transmission electron microscopy method | 1999-07 | standard | ISO | ISO/TC 146/SC 3 | WG 1
ambient air | asbestos | indirect-transfer TEM |  | ISO 13794:2019 | Ambient air — Determination of asbestos fibres — Indirect-transfer transmission electron microscopy method (Revision of ISO 13794:1999) | 2019-10 | standard | ISO | ISO/TC 146/SC 3 | WG 1
ambient air | asbestos | sampling |  | ISO 22262-1:2012 | Air quality — Bulk materials — Part 1: Sampling and qualitative determination of asbestos in commercial bulk materials | 2012-07 | standard | ISO | ISO/TC 146/SC 3 | WG 1
ambient air | asbestos | gravimetric and microscopical method |  | ISO 22262-2:2014 | Air quality — Bulk materials — Part 2: Quantitative determination of asbestos by gravimetric and microscopical methods | 2014-09 | standard | ISO | ISO/TC 146/SC 3 | WG 1
ambient air | asbestos | x-ray diffraction |  | ISO 22262-3:2016 | Air quality — Bulk materials — Part 3: Quantitative determination of asbestos by X-ray diffraction method | 2016-10 | standard | ISO | ISO/TC 146/SC 3 | WG 1
ambient air | benzene | pumped sampling and analysis | SM | EN 14662-1:2005 | Ambient air quality — Standard method for measurement of benzene concentrations — Part 1: Pumped sampling followed by thermal desorption and gas chromatography | 2005-05 | standard | CEN | CEN/TC 264 | WG 13
ambient air | benzene | pumped sampling and analysis | SM | EN 14662-2:2005 | Ambient air quality — Standard method for measurement of benzene concentrations — Part 2: Pumped sampling followed by solvent desorption and gas chromatography | 2005-05 | standard | CEN | CEN/TC 264 | WG 13
ambient air | benzene | pumped sampling and analysis | SM | EN 14662-3:2015 | Ambient air — Standard method for the measurement of benzene concentrations — Part 3: Automated pumped sampling with in situ gas chromatography | 2015-11 | standard | CEN | CEN/TC 264 | WG 12
ambient air | benzene | diffusive sampling and analysis | SM | EN 14662-4:2005 | Ambient air quality — Standard method for measurement of benzene concentrations — Part 4: Diffusive sampling followed by thermal desorption and gas chromatography | 2005-05 | standard | CEN | CEN/TC 264 | WG 13
ambient air | benzene | diffusive sampling and analysis | SM | EN 14662-5:2005 | Ambient air quality — Standard method for measurement of benzene concentrations — Part 5: Diffusive sampling followed by solvent desorption and gas chromatography | 2005-05 | standard | CEN | CEN/TC 264 | WG 13
ambient air | benzo[a]pyrene | manual method | SM | EN 15549:2008 | Air quality — Standard method for the measurement of the concentration of benzo[a]pyrene in ambient air | 2008-03 | standard | CEN | CEN/TC 264 | WG 21
ambient air | benz[a]anthracene benzo[b]fluoranthene benzo[j]fluoranthene benzo[k]fluoranthene benzo[a]pyrene dibenz[a,h]anthracene indeno[1,2,3-cd]pyrene | deposition | SM | EN 15980:2011 | Air quality — Determination of the deposition of benz[a]anthracene, benzo[b]fluoranthene, benzo[j]fluoranthene, benzo[k]fluoranthene, benzo[a]pyrene, dibenz[a,h]anthracene and indeno[1,2,3-cd]pyrene | 2011-05 | standard | CEN | CEN/TC 264 | WG 21
ambient air | benz[a]anthracene benzo[b]fluoranthene benzo[j]fluoranthene benzo[k]fluoranthene dibenz[a,h]anthracene indeno[1,2,3-cd]pyrene benzo[ghi]perylene |  |  | CEN/TS 16645:2014 | Ambient air — Method for the measurement of benz[a]anthracene, benzo[b]fluoranthene, benzo[j]fluoranthene, benzo[k]fluoranthene, dibenz[a,h]anthracene, indeno[1,2,3-cd]pyrene and benzo[ghi]perylene | 2014-04 | TS | CEN | CEN/TC 264
ambient air | carbon monoxide | infrared spectrometry |  | ISO 4224:2000 | Ambient air — Determination of carbon monoxide — Non-dispersive infrared spectrometric method | 2000-03 | standard | ISO | ISO/TC 146/SC 3 | WG 21
ambient air | carbon monoxide | gas chromatography |  | ISO 8186:1989 | Ambient air — Determination of the mass concentration of carbon monoxide — Gas chromatographic method | 1989-07 | standard | ISO | ISO/TC 146/SC 3
ambient air | carbon monoxide | non-dispersive infrared spectrometry | SM | EN 14626:2012 | Ambient air — Standard method for the measurement of the concentration of carbon monoxide by non-dispersive infrared spectroscopy | 2012-08 | standard | CEN | CEN/TC 264 | WG 12
ambient air | lead | AAS |  | ISO 9855:1993 | Ambient air — Determination of the particulate lead content of aerosols collected on filters — Atomic absorption spectrometric method | 1993-10 | standard | ISO | ISO/TC 146/SC 3
ambient air | mercury | manual method | SM | EN 15852:2010 | Ambient air quality — Standard method for the determination of total gaseous mercury | 2010-06 | standard | CEN | CEN/TC 264 | WG 25
ambient air | mercury deposition | manual method | SM | EN 15853:2010 | Ambient air quality — Standard method for the determination of mercury deposition | 2010-06 | standard | CEN | CEN/TC 264 | WG 25
ambient air | nitrogen dioxide | Griess-Saltzman method |  | ISO 6768:1998 | Ambient air — Determination of mass concentration of nitrogen dioxide — Modified Griess-Saltzman method | 1998-08 | standard | ISO | ISO/TC 146/SC 3
ambient air | nitrogen dioxide | diffusive sampling |  | EN 16339:2013 | Ambient air — Method for the determination of the concentration of nitrogen dioxde by diffusive sampling | 2013-07 | standard | CEN | CEN/TC 264 | WG 11
ambient air | nitrogen dioxide, nitrogen monoxide | chemiluminescence | SM | EN 14211:2012 | Ambient air — Standard method for the measurement of the concentration of nitrogen dioxide and nitrogen monoxide by chemiluminescence | 2012-08 | standard | CEN | CEN/TC 264 | WG 12
ambient air | nitrogen oxides | chemiluminescence |  | ISO 7996:1985 | Ambient air — Determination of the mass concentration of nitrogen oxides — Chemiluminescence method | 1985-12 | standard | ISO | ISO/TC 146/SC 3
ambient air | odour | grid method |  | EN 16841-1:2016 | Ambient air — Determination of odour in ambient air by using field inspection — Part 1: Grid method | 2016-11 | standard | CEN | CEN/TC 264 | WG 27
ambient air | odour | plume method |  | EN 16841-2:2016 | Ambient air — Determination of odour in ambient air by using field inspection — Part 2: Plume method | 2016-11 | standard | CEN | CEN/TC 264 | WG 27
ambient air | ozone | chemiluminescence |  | ISO 10313:1993 | Ambient air — Determination of the mass concentration of ozone — Chemiluminescence method | 1993-04 | standard | ISO | ISO/TC 146/SC 3
ambient air | ozone | gas phase titration |  | ISO 15337:2009 | Ambient air — Gas phase titration — Calibration of analysers for ozone | 2009-04 | standard | ISO | ISO/TC 146/SC 3 | WG 8
ambient air | ozone | UV photometry |  | ISO 13964:1998 | Air quality — Determination of ozone in ambient air — Ultraviolet photometric method | 1998-08 | standard | ISO | ISO/TC 146/SC 3
ambient air | ozone | UV photometry | SM | EN 14625:2012 | Ambient air — Standard method for the measurement of the concentration of ozone by ultraviolet photometry | 2012-08 | standard | CEN | CEN/TC 264 | WG 12
ambient air | PAH | GC-MS |  | ISO 12884:2000 | Ambient air — Determination of total (gas and particle-phase) polycyclic aromatic hydrocarbons — Collection on sorbent-backed filters with gas chromatographic/mass spectrometric analyses | 2000-04 | standard | ISO | ISO/TC 146/SC 3 | WG 17
ambient air | PAH | HPLC |  | ISO 16362:2005 | Ambient air — Determination of particle-phase polycyclic aromatic hydrocarbons by high performance liquid chromatography | 2005-02 | standard | ISO | ISO/TC 146/SC 3 | WG 17
ambient air | nitro- and oxy-PAHs |  |  | CEN/TR 16998:2016 | Ambient air — Report on nitro- and oxy-PAHs — Origin, toxicity, concentrations and measurement methods | 2016-11 | TR | CEN | CEN/TC 264 | WG 21
ambient air | sulphur dioxide | thorin spectrometric method |  | ISO 4221:1980 | Air quality — Determination of mass concentration of sulphur dioxide in ambient air — Thorin spectrometric method | 1980-11 | standard | ISO | ISO/TC 146/SC 3
ambient air | sulphur dioxide | TCM/pararosaniline method |  | ISO 6767:1990 | Ambient air — Determination of the mass concentration of sulfur dioxide — Tetrachloromercurate (TCM)/pararosaniline method | 1990-09 | standard | ISO | ISO/TC 146/SC 3
ambient air | sulphur dioxide | UV fluorescence |  | ISO 10498:2004 | Ambient air — Determination of sulfur dioxide — Ultraviolet fluorescence method | 2004-06 | standard | ISO | ISO/TC 146/SC 3 | WG 15
ambient air | sulphur dioxide | UV fluorescence | SM | EN 14212:2012 (+C1:2014) | Ambient air — Standard method for the measurement of the concentration of sulphur dioxide by ultraviolet fluorescence | 2012-08 | standard | CEN | CEN/TC 264 | WG 12
ambient air | sulphur compounds | sampling |  | ISO 4219:1979 | Air quality — Determination of gaseous sulphur compounds in ambient air — Sampling equipment | 1979-09 | standard | ISO | ISO/TC 146/SC 3 | WG 21
ambient air | PM | beta-ray absorption method |  | ISO 10473:2000 | Ambient air — Measurement of the mass of particulate matter on a filter medium — Beta-ray absorption method | 2000-01 | standard | ISO | ISO/TC 146/SC 3
ambient air | PM10 or PM2,5 | gravimetric method | SM | EN 12341:2023 | Ambient air — Standard gravimetric measurement method for the determination of the PM10 or PM2,5 mass concentration of suspended particulate matter | 2023-08 | standard | CEN | CEN/TC 264 | WG 15
ambient air | PM10 or PM2,5 | automated measuring systems |  | EN 16450:2017 | Ambient air — Automated measuring systems for the measurement of the concentration of particulate matter (PM10; PM2,5) | 2017-03 | standard | CEN | CEN/TC 264 | WG 15
ambient air | anions and cations in PM2,5 |  |  | CEN/TR 16269:2011 | Ambient air quality — Guide for the measurement of anions and cations in PM2,5 | 2011-09 | TR | CEN | CEN/TC 264 | WG 34
ambient air | NO3-, SO42-, Cl-, NH4+, Na+, K+, Mg2+, Ca2+ in PM2,5 | deposition on filters | SM | EN 16913:2017 | Ambient air — Standard method for measurement of NO3-, SO42-, Cl-, NH4+, Na+, K+, Mg2+, Ca2+ in PM2,5 as deposited on filters | 2017-06 | standard | CEN | CEN/TC 264 | WG 34
ambient air | Pb, Cd, As and Ni in the PM10 | manual method | SM | EN 14902:2005 (+C1:2006) | Ambient air quality — Standard method for the measurement of Pb, Cd, As and Ni in the PM10 fraction of suspended particulate matter | 2005-08 | standard | CEN | CEN/TC 264 | WG 14
ambient air | EC and OC | deposition on filters |  | CEN/TR 16243:2011 | Ambient air quality — Guide for the measurement of elemental carbon (EC) and organic carbon (OC) deposited on filters | 2011-08 | TR | CEN | CEN/TC 264 | WG 35
ambient air | EC and OC | deposition on filters | SM | EN 16909:2017 | Ambient air — Measurement of elemental carbon (EC) and organic carbon (OC) collected on filters | 2017-03 | standard | CEN | CEN/TC 264 | WG 35
ambient air | EC and OC |  |  | CEN/TS 17554:2020 | Ambient air; Measurement of elemental carbon (EC) and organic carbon (OC) in PM10 and PMcoarse | 2020-11 | TS | CEN | CEN/TC 264 | WG 35
ambient air | black smoke |  |  | ISO 9835:1993 | Ambient air — Determination of a black smoke index | 1993-03 | standard | ISO | ISO/TC 146/SC 3
ambient air | gaseous acid air pollution index | titrimetric method |  | ISO 4220:1983 | Ambient air — Determination of a gaseous acid air pollution index — Titimetric method with indicator or potentiometric end-point detection | 1983-12 | standard | ISO | ISO/TC 146/SC 3
ambient air | gases and vapours | diffusive sampling |  | EN 13528-1:2002 | Ambient air quality — Diffusive samplers for the determination of concentrations of gases and vapours — Requirements and test methods — Part 1: General requirements | 2002-09 | standard | CEN | CEN/TC 264 | WG 11
ambient air | gases and vapours | diffusive sampling |  | EN 13528-2:2002 | Ambient air quality — Diffusive samplers for the determination of concentrations of gases and vapours — Requirements and test methods — Part 2: Specific requirements and test methods | 2002-09 | standard | CEN | CEN/TC 264 | WG 11
ambient air | gases and vapours | diffusive sampling |  | EN 13528-3:2003 | Ambient air quality — Diffusive samplers for the determination of concentrations of gases and vapours — Requirements and test methods — Part 3: Guide to selection, use and maintenance | 2003-12 | standard | CEN | CEN/TC 264 | WG 11
ambient air | non-methane organic compounds | cryogenic preconcentration and direct FID |  | ISO 14965:2000 | Air quality — Determination of total non-methane organic compounds — Cryogenic preconcentration and direct flame ionization detection method | 2000-03 | standard | ISO | ISO/TC 146/SC 3
ambient air | inorganic fibrous particles | scanning electron microscopy |  | ISO 14966:2019 | Ambient air — Determination of numerical concentration of inorganic fibrous particles — Scanning electron microscopy method | 2019-12 | standard | ISO | ISO/TC 146/SC 3 | WG 1
ambient air | tire and road wear particles | Pyrolysis-GC/MS method |  | ISO/TS 20593:2017 | Ambient air — Determination of the mass concentration of tire and road wear particles (TRWP) — Pyrolysis-GC/MS method | 2017-06 | TS | ISO | ISO/TC 146/SC 3
ambient air | bioaerosols | filter sampling and analysis |  | CEN/TS 16115-1:2011 | Ambient air quality — Measurement of bioaerosols — Part 1: Determination of moulds using filter sampling systems and cultivation-based analyses | 2011-04 | TS | CEN | CEN/TC 264 | WG 28
ambient air | bioaerosols | measurement planning |  | CEN/TS 16115-2:2016 | Ambient air — Measurement of bioaerosols — Part 2: Planning and evaluation of plant-related plume measurements | 2016-12 | TS | CEN | CEN/TC 264 | WG 28
ambient air | lichen diversity | biomonitoring with lichens |  | EN 16413:2014 | Ambient air — Biomonitoring with lichens — Assessing epiphytic lichen diversity | 2014-02 | standard | CEN | CEN/TC 264 | WG 31
ambient air | atmospheric contaminants | biomonitoring with mosses |  | EN 16414:2014 | Ambient air — Biomonitoring with mosses — Accumulation of atmospheric contaminants in mosses collected in situ: from the collection to the preparation of samples | 2014-02 | standard | CEN | CEN/TC 264 | WG 31
ambient air | atmospheric contaminants | biomonitoring with tobacco |  | EN 16789:2016 | Ambient air — Biomonitoring with Higher Plants — Method of the standardised tobacco exposure | 2016-08 | standard | CEN | CEN/TC 264 | WG 30
ambient air | GMO | pollen sampling |  | CEN/TS 16817-1:2015 | Ambient air — Monitoring the effects of genetically modified organisms (GMO) — Pollen monitoring — Part 1: Technical pollen sampling using pollen mass filter (PMF) and Sigma-2-sampler | 2015-11 | TS | CEN | CEN/TC 264 | WG 29
ambient air | GMO | pollen sampling |  | CEN/TS 16817-2:2015 | Ambient air — Monitoring the effects of genetically modified organisms (GMO) — Pollen monitoring — Part 2: Biological pollen sampling using bee colonies | 2015-11 | TS | CEN | CEN/TC 264 | WG 29
ambient air | pollen grains and fungal spores | volumetric Hirst method |  | EN 16868:2019 | Ambient air — Sampling and analysis of airborne pollen grains and fungal spores for networks related to allergy — Volumetric Hirst method | 2019-05 | standard | CEN | CEN/TC 264 | WG 39
ambient air | atmospheric measurements | FTIR |  | EN 15483:2008 | Ambient air quality — Atmospheric measurements near ground with FTIR | 2008-11 | standard | CEN | CEN/TC 264 | WG 18
ambient air | atmospheric measurements | DOAS |  | EN 16253:2013 | Air quality — Atmospheric measurements near ground with active Differential Optical Absorption Spectroscopy (DOAS) — Ambient air and diffuse emission measurements | 2013-07 | standard | CEN | CEN/TC 264 | WG 18
ambient air | atmospheric aerosol | particle number concentration |  | CEN/TS 16976:2016 | Ambient air — Determination of the particle number concentration of atmospheric aerosol | 2016-08 | TS | CEN | CEN/TC 264 | WG 32
ambient air | atmospheric aerosol | mobility particle size spectrometer |  | CEN/TS 17434:2020 | Air quality — Determination of the particle size spectra of atmospheric aerosol using a Mobility Particle Size Spectrometer (MPSS) | 2020-04 | TS | CEN | CEN/TC 264 | WG 32
ambient air | road tunnel | quality assurance |  | ISO 23431:2021 | Measurement of road tunnel air quality | 2021-04 | standard | ISO | ISO/TC 146/SC 3 | WG 22
ambient air | uncertainty | statistical methods |  | CR 14377:2002 | Air quality — Approach to uncertainty estimation for ambient air reference measurement methods | 2002-01 | report | CEN | CEN/TC 264
ambient air | source apportionment model applications |  |  | CEN/TS 17458:2020 | Ambient air — Methodology for the assessment of the performance of source apportionment model applications |  | TS | CEN | CEN/TC 264 | WG 44
ambient air | benzene | pumped sampling and analysis |  | EN 14662-1:2023 | Ambient air quality; Standard method for measurement of benzene concentrations; Part 1: Pumped sampling followed by thermal desorption and gas chromatography | 2023-12 | standard | CEN | CEN/TC 264
emissions | ammonia | manual method | SRM | ISO 21788:2019 EN ISO 21788:2019 | Stationary source emissions — Determination of the mass concentration of ammonia — Manual method | 2019-08 2019-10 | standard | VA | ISO/TC 146/SC 1 | WG 33 |  | 8 mg/m3 to 65 mg/m3 | 95 % expanded uncertainty: from validation: 12 % |  |  | 20 % of the assessment threshold | Several national/industry standards are available, e.g. IS 11255- 6; NF X43-303; SCAQMD 207.1; UNICHIM 632; US EPA CTM-027; VDI 3878
emissions | ammonia | automated measuring systems |  | ISO 17179:2016 | Stationary source emissions — Determination of the mass concentration of ammonia in flue gas — Performance characteristics of automated measuring systems | 2016-07 | standard | ISO | ISO/TC 146/SC 1 | WG 28
emissions | asbestos | fibre count measurement |  | ISO 10397:1993 | Stationary source emissions — Determination of asbestos plant emissions — Method by fibre count measurement | 1993-08 | standard | ISO | ISO/TC 146/SC 1
emissions | As, Cd, Cr, Co, Cu, Mn, Ni, Pb, Sb, Tl, V | manual method | SRM | EN 14385:2004 | Stationary source emissions — Determination of the total emission of As, Cd, Cr, Co, Cu, Mn, Ni, Pb, Sb, Tl and V | 2004-02 | standard | CEN | CEN/TC 264 | WG 8 | 5 µg/m3 to 500 µg/m3 (for each element) (3); |  |  | Required LoD: ≤ 1 µg/m3 for each element and sampling train; Resulting LoD: 5 µg/m3 for the whole sampling train
emissions | carbon monoxide, carbon dioxide and oxygen | automated measuring systems |  | ISO 12039:2019 | Stationary source emissions — Determination of carbon monoxide, carbon dioxide and oxygen — Performance characteristics and calibration of automated measuring systems | 2019-10 | standard | ISO | ISO/TC 146/SC 1 | WG 34
emissions | carbon monoxide | non-dispersive infrared spectrometry | SRM | EN 15058:2017 | Stationary source emissions — Determination of the mass concentration of carbon monoxide — Standard reference method: non-dispersive infrared spectrometry | 2017-01 | standard | CEN | CEN/TC 264 | WG 16 | Up to 400 mg/m3 at large combustion plants (sampling duration of 30 min); Up to 740 mg/m3 at waste (co-)incineration plants (sampling duration of 30 min) |  |  |  |  | ±6.0%
emissions | carbon dioxide | automated method | RM | CEN/TS 17405:2020 | Stationary source emissions — Reference method for the determination of CO2 concentration | 2020-09 | TS | CEN | CEN/TC 264 | WG 16 | —
emissions | carbon dioxide | radiocarbon sampling |  | ISO 13833:2013 EN ISO 13833:2013 | Stationary source emissions — Determination of the ratio of biomass (biogenic) and fossil-derived carbon dioxide — Radiocarbon sampling and determination | 2013-04 2013-04 | standard | VA | ISO/TC 146/SC 1 | WG 26
emissions | carbon dioxide | balance method |  | ISO 18466:2016 | Determination of the biogenic fraction in CO2 in stack gas using the balance method | 2016-12 | standard | ISO | ISO/TC 146/SC 1 | WG 26
emissions | formaldehyde | manual method | RM | CEN/TS 17638:2021 | Stationary source emissions — Manual method for the determination of the mass concentration of formaldehyde — Reference method |  | TS | CEN | CEN/TC 264 | WG 40 | [6 empty] | Several national/industry standards are available, e.g. CARB M 430; FD X43-319; NCASI CI/WP-98.01; US EPA M 0011 and M 316; VDI 3862-2 and -6
emissions | gaseous organic carbon | continuous flame ionisation detector | SRM | EN 12619:2013 | Stationary source emissions — Determination of the mass concentration of total gaseous organic carbon — Continuous flame ionisation detector method | 2013-01 | standard | CEN | CEN/TC 264 | WG 4 | Up to 1000 mg/m³
emissions | gaseous organic compounds | sampling and analysis |  | CEN/TS 13649:2014 | Stationary source emissions — Determination of the mass concentration of individual gaseous organic compounds — Sorptive sampling method followed by solvent extraction or thermal desorption | 2014-12 | TS | CEN | CEN/TC 264 | WG 4
emissions | hydrogen chlorides | manual method | SRM | EN 1911:2010 | Stationary source emissions — Determination of mass concentration of gaseous chlorides expressed as HCl — Standard reference method | 2010-08 | standard | CEN | CEN/TC 264 | WG 3 | 1 mg/m3 to 5 000 mg/m3 (3); For water analysis: a): LoD: 0.5 mg/l to 1 mg/l b) and c): LoD: 0.05 mg/l to 0.1 mg/l |  | 30% | LoD: ~ 0.2 mg/m3 (sample gas volume of 0.4 m3 to 0.5 m3, sampling duration of 2 h, method A)
emissions | hydrogen chloride | infra-red technique | SRM | EN 16429:2021 | Stationary source emissions — Method to measure specifically gaseous hydrogen chloride (HCl) concentrations in waste gases of industrial installations by means of an automated method using infra-red technique | 2021-03 | standard | CEN | CEN/TC 264 | WG 3
emissions | gaseous fluoride | sampling and analysis |  | ISO 15713:2006 | Stationary source emissions — Sampling and determination of gaseous fluoride content | 2006-06 | standard | ISO | ISO/TC 146/SC 1
emissions | hydrofluoric acid | manual method | SRM | CEN/TS 17340:2020 | Stationary source emissions; Determination of mass concentration of fluorinated compounds expressed as HF; Standard reference method | 2020-09 | TS | CEN | CEN/TC 264 | WG 3 | Up to 200 mg/m3; |  |  | LoD: ~ 0.1 mg/m3 (sample gas volume of 0.1 m3)
emissions | mercury | manual method | SRM | EN 13211:2001 | Air quality — Stationary source emissions — Manual method of determination of the concentration of total mercury | 2001 | standard | CEN | CEN/TC 264 | WG 8 | 1 µg/m3 to 500 µg/m3 (3); |  |  | LoD: 2.6 µg/m3 (sample gas volume of 0.05 m3) |  |  | AC:2005 (Technical corrigendum)
emissions | mercury | automated measuring systems |  | EN 14884:2022 | Air quality — Stationary source emissions — Determination of total mercury: Automated measuring systems | 2022-12 | standard | CEN | CEN/TC 264 | WG 8
emissions | mercury | sorbent traps |  | CEN/TS 17286:2019 | Stationary source emissions — Mercury monitoring using sorbent traps | 2019-03 | TS | CEN | CEN/TC 264 | WG 8
emissions | mercury | gold amalgamation trap |  | ISO 21741:2020 | Stationary source emissions; Sampling and determination of mercury compounds in flue gas using gold amalgamation trap | 2020-11 | standard | ISO | ISO/TC 146/SC 1 | WG 32 | short-term (periodic) measurements of gaseous mercury ranging from 0,01 μg/m3 to 100 μg/m3 with sampling volumes from 0,005 m3 to 0,1 m3 and sample gas flow rate between 0,2 l/min to 1 l/min. The measurement range of particulate mercury is typically from 0,01 μg/m3 to 100 μg/m3 with sampling volume from 0,05 m3 to 1 m3.
emissions | methane | gas chromatography | SRM | ISO 25139:2011 EN ISO 25139:2011 | Stationary source emissions — Manual method for the determination of the methane concentration using gas chromatography | 2011-04 2011-04 | standard | VA | ISO/TC 146/SC 1 | WG 22 | Up to 1 500 mg/m3
emissions | methane | automated measuring systems |  | ISO 25140:2010 EN ISO 25140:2010 | Stationary source emissions — Automatic method for the determination of the methane concentration using flame ionisation detection (FID) | 2010-08 2010-08 | standard | VA | ISO/TC 146/SC 1 | WG 22
emissions | nitrogen oxides | automated method: chemiluminescence | SRM | EN 14792:2017 | Stationary source emissions — Determination of mass concentration of nitrogen oxides — Standard reference method: chemiluminescence | 2017-01 | standard | CEN | CEN/TC 264 | WG 16 | Up to 1 300 mg/m3 at large combustion plants;at large combustion plants; Up to 400 mg/m3 at waste (co-)incineration plants |  | ±10.0%
emissions | nitrogen oxides | naphthylethylenediamine photometric method |  | ISO 11564:1998 (+C1:2000) | Stationary source emissions — Determination of the mass concentration of nitrogen oxides — Naphthylethylenediamine photometric method | 1998-05 | standard | ISO | ISO/TC 146/SC 1 |  | Up to 400 mg/m3 at waste (co-)incineration plants
emissions | nitrogen oxides | automated measuring systems |  | ISO 10849:2022 | Stationary source emissions — Determination of the mass concentration of nitrogen oxides — Performance characteristics of automated measuring systems | 2022-09 | standard | ISO | ISO/TC 146/SC 1
emissions | dinitrogen monoxide | non-dispersive infrared method | SRM | ISO 21258:2010 EN ISO 21258:2010 | Stationary source emissions — Determination of the mass concentration of dinitrogen monoxide (N2O) — Reference method: Non-dispersive infrared method | 2010-06 2010-06 | standard | VA | ISO/TC 146/SC 1 | WG 19 | Up to 200 mg/m3 (3) Validated during field trials in waste (co-)incineration plants | 200 mg/m³
emissions | odour | olfactometry |  | EN 13725:2022 | Stationary source emissions — Determination of odour concentration by dynamic olfactometry | 2022-02 | standard | CEN | CEN/TC 264 | WG 2
emissions | PAH | sampling |  | ISO 11338-1:2003 | Stationary source emissions — Determination of gas and particle-phase polycyclic aromatic hydrocarbons — Part 1: Sampling | 2003-06 | standard | ISO | ISO/TC 146/SC 1/WG 9 |  |  |  |  | LoD (16 US EPA PAH): 0.1 μg/m3 to 1 μg/m3 for 6 m3 sample volume and a dilution factor of 100
emissions | PAH | sample preparation |  | ISO 11338-2:2003 | Stationary source emissions — Determination of gas and particle-phase polycyclic aromatic hydrocarbons — Part 2: Sample preparation, clean-up and determination | 2003-06 | standard | ISO | ISO/TC 146/SC 1/WG 9
emissions | PCDDs/PCDFs, dioxin-like PCBs | sampling | SRM | EN 1948-1:2006 | Stationary source emissions — Determination of the mass concentration of PCDDs/PCDFs and dioxin-like PCBs — Part 1: Sampling of PCDDs/PCDFs | 2006-03 | standard | CEN | CEN/TC 264 | WG 1 | Measurements typically at 0.1 ng I-TEQ/m3; | [5 empty] | CEN/TS 1948-5:2015 describes the long-term sampling of PCDDs/PCDFs and PCBs
emissions | PCDDs/PCDFs, dioxin-like PCBs | extraction | SRM | EN 1948-2:2006 | Stationary source emissions — Determination of the mass concentration of PCDDs/PCDFs and dioxin-like PCBs — Part 2: Extraction and clean-up of PCDDs/PCDFs | 2006-03 | standard | CEN | CEN/TC 264 | WG 1 |  |  |  |  | LoQ: 0.1 pg/m3 to 8.8 pg/m3 for individual congeners (3) (corresponds to a LoQ of 1.2 pg I-TEQ/m3 to 3.7 pg I-TEQ/m3)
emissions | PCDDs/PCDFs, dioxin-like PCBs | identification | SRM | EN 1948-3:2006 | Stationary source emissions — Determination of the mass concentration of PCDDs/PCDFs and dioxin-like PCBs — Part 3: Identification and quantification of PCDDs/PCDFs | 2006-03 | standard | CEN | CEN/TC 264 | WG 1
emissions | PCDDs/PCDFs, dioxin-like PCBs | sampling and analysis | SRM | EN 1948-4:2010 (+A1:2013) | Stationary source emissions — Determination of the mass concentration of PCDDs/PCDFs and dioxin-like PCBs — Part 4: Sampling and analysis of dioxin-like PCBs | 2010-08 | standard | CEN | CEN/TC 264 | WG 1 |  |  |  | LoD: 0.11 pg WHO-TEQ/m3 to 0.57 pg WHO-TEQ/m3, | LoQ: 0.20 pg WHO-TEQ/m3 to 1.37 pg WHO-TEQ/m3 (depending on sampling method) (3) |  | A1:2013 (Amendment 1)
emissions | PCDDs/PCDFs, dioxin-like PCBs | long-term sampling |  | CEN/TS 1948-5:2015 | Stationary source emissions — Determination of the mass concentration of PCDDs/PCDFs and dioxin-like PCBs — Part 5: Long-term sampling of PCDDs/PCDFs and PCBs | 2015-04 | TS | CEN | CEN/TC 264 | WG 1
emissions | PM | manual gravimetric method |  | ISO 9096:2017 | Stationary source emissions — Manual determination of mass concentration of particulate matter | 2017-09 | standard | ISO | ISO/TC 146/SC 1
emissions | PM | manual gravimetric method |  | ISO 12141:2002 | Stationary source emissions — Determination of mass concentration of particulate matter (dust) at low concentrations — Manual gravimetric method | 2002-11 | standard | ISO | ISO/TC 146/SC 1
emissions | PM | automated measuring systems |  | ISO 10155:1995 (+C1:2002) | Stationary source emissions — Automated monitoring of mass concentrations of particles — Performance characteristics, test methods and specifications | 1995-04 | standard | ISO | ISO/TC 146/SC 1
emissions | PM | gravimetric method | SRM | EN 13284-1:2017 | Stationary source emissions — Determination of low range mass concentration of dust — Part 1: Manual gravimetric method | 2017-11 | standard | CEN | CEN/TC 264 | WG 5 | Up to 50 mg/m3, measurements typically at 5 mg/m3; Validated during field trials in waste (co-)incineration plants |  |  | LoD: ~ 0.3 mg/m3 (dry gases, sampling duration of 30 min), ~ 2 mg/m3 (vapoursaturated gases, sampling duration of 30 min) (3) |  | ±20%
emissions | PM | automated measuring systems |  | EN 13284-2:2017 | Stationary source emissions — Determination of low range mass concentration of dust — Part 2: Quality assurance of automated measuring systems | 2017-11 | standard | CEN | CEN/TC 264 | WG 5 | —
emissions | PM | dust arrestment plant monitors |  | EN 17389:2020 | Stationary source emissions; Quality assurance and quality control procedures for automated dust arrestment plant monitors | 2020-05 | standard | CEN | CEN/TC 264 | WG 5
emissions | PM10 and PM2,5 | impactors | SRM | (EN) ISO 23210:2009 | Stationary source emissions — Determination of PM10/PM2,5 mass concentration in flue gas — Measurement at low concentrations by use of impactors | 2009-08 | standard | VA | ISO/TC 146/SC 1 | WG 20 |  |  |  | LoD: PM10: 0.4 mg/m3 (sample gas volume:1 m3, sampling duration of ~ 30 min)
emissions | PM10 and PM2,5 | virtual impactors |  | ISO 13271:2012 | Stationary source emissions — Determination of PM10/PM2,5 mass concentration in flue gas — Measurement at higher concentrations by use of virtual impactors | 2012-06 | standard | ISO | ISO/TC 146/SC 1 |  |  |  |  | LoD: PM2.5: 0.3 mg/m3 (sample gas volume:1 m3, sampling duration of ~ 30 min)
emissions | PM10 and PM2,5 | cyclone samplers |  | ISO 25597:2013 | Stationary source emissions — Test method for determining PM2,5 and PM10 mass in stack gases using cyclone samplers and sample dilution | 2013-03 | standard | ISO | ISO/TC 146/SC 1 | WG 21
emissions | oxygen | automated method: paramagnetism | SRM | EN 14789:2017 | Stationary source emissions — Determination of volume concentration of oxygen — Standard reference method: Paramagnetism | 2017-01 | standard | CEN | CEN/TC 264 | WG 16 | 3 vol-% to 21 vol-% (sampling duration of 30 min) (3) (4) (5) |  |  |  |  | ±6.0% or 0.3 % as vol.
emissions | selenium | sampling and analysis |  | ISO 17211:2015 | Stationary source emissions — Sampling and determination of selenium compounds in flue gas | 2015-08 | standard | ISO | ISO/TC 146/SC 1 | WG 27
emissions | sulphur dioxide | automated methods |  | CEN/TS 17021:2017 | Stationary source emissions — Determination of the mass concentration of sulphur dioxide by instrumental techniques | 2017-01 | TS | CEN | CEN/TC 264 | WG 16
emissions | sulphur dioxide | manual method |  | ISO 7934:1989 (+Amd1:1998) | Stationary source emissions — Determination of the mass concentration of sulfur dioxide — Hydrogen peroxide/barium perchlorate/Thorin method | 1989-07 | standard | ISO | ISO/TC 146/SC 1
emissions | sulphur dioxide | ion chromatography |  | ISO 11632:1998 | Stationary source emissions — Determination of mass concentration of sulphur dioxide — Ion chromatography method | 1998-03 | standard | ISO | ISO/TC 146/SC 1
emissions | sulphur dioxide | automated measuring systems |  | ISO 7935:1992 | Stationary source emissions — Determination of the mass concentration of sulfur dioxide — Performance characteristics of automated measuring methods | 1992-12 | standard | ISO | ISO/TC 146/SC 1
emissions | sulphur oxides | manual method | SRM | EN 14791:2017 | Stationary source emissions — Determination of mass concentration of sulphur oxides — Standard reference method | 2017-01 | standard | CEN | CEN/TC 264 | WG 16 | a) Ion chromatography: 0.5 mg/m3 to 2 000 mg/m3 (sampling duration of 30 min) (3) (4); b) Titration: 5 mg/m3 to 2 000 mg/m3 (sampling duration of 30 min) (3) (4); LoQ ≥ 2.2 mg/m3 (flow rate of 1 l/min, 100 ml of absorption solution, sampling duration of 30 min) |  |  |  | a) LoQ: ≥ 0.1 mg/m3 (flow rate of 1 l/min, 100 ml of absorption solution, sampling duration of 30 min) b) LoQ ≥ 2.2 mg/m3 (flow rate of 1 l/min, 100 ml of absorption solution, sampling duration of 30 min) | ±20.0%
emissions | VOC |  |  | ISO 20264:2019 | Stationary source emissions — Determination of the mass concentration of individual volatile organic compounds (VOCs) in waste gases from non-combustion processes | 2019-09 | standard | ISO | ISO/TC 146/SC 1 | WG 32
emissions | TVOC | non-dispersive infrared analyser | SRM | ISO 13199:2012 EN ISO 13199:2012 | Stationary source emissions — Determination of total volatile organic compounds (TVOC) in waste gases from non-combustion processes — Non-dispersive infrared analyser equipped with catalytic converter | 2012-10 2012-10 | standard | VA | ISO/TC 146/SC 1 |  | From about 70 mg/m3 to 600 mg/m3 | [5 empty] | Not applicable to combustion processes
emissions | water vapour | manual method | SRM | EN 14790:2017 | Stationary source emissions — Determination of the water vapour in ducts — Standard reference method | 2017-01 | standard | CEN | CEN/TC 264 | WG 16 | 4 vol-% to 40 vol-% |  |  |  |  | ±20.0%
emissions | volume flow | manual method |  | ISO 10780:1994 | Stationary source emissions — Measurement of velocity and volume flowrate of gas streams in ducts | 1994-11 | standard | ISO | ISO/TC 146/SC 1
emissions | volume flow | automated method |  | ISO 14164:1999 | Stationary source emissions — Determination of the volume flowrate of gas streams in ducts — Automated method | 1999-04 | standard | ISO | ISO/TC 146/SC 1
emissions | volume flow | manual method | SRM | ISO 16911-1:2013 EN ISO 16911-1:2013 | Stationary source emissions — Manual and automatic determination of velocity and volume flow rate in ducts — Part 1: Manual reference method | 2013-03 2013-03 | standard | VA | CEN/TC 264 | WG 23 | [6 empty] | CEN/TR 17078:2017 provides guidance on the application of EN ISO 16911-1:2013
emissions | volume flow | automated measuring systems |  | ISO 16911-2:2013 EN ISO 16911-2:2013 | Stationary source emissions — Manual and automatic determination of velocity and volume flow rate in ducts — Part 2: Automated measuring systems | 2013-03 2013-03 | standard | VA | CEN/TC 264 | WG 23
emissions | volume flow | manual method |  | CEN/TR 17078:2017 | Stationary source emissions – Guidance on he application of EN ISO 16911-1 | 2017-03 | TR | CEN | CEN/TC 264 | WG 23
emissions | quality assurance | automated measuring systems |  | EN 14181:2014 | Stationary source emissions — Quality assurance of automated measuring systems | 2014-11 | standard | CEN | CEN/TC 264 | WG 9
emissions | quality assurance | proficiency testing schemes |  | EN 17656:2022 | Air quality; Requirements on proficiency testing schemes for emission measurements | 2022-10 | standard | CEN | CEN/TC 264 | WG 45
emissions | quality assurance | data acquisition and handling systems |  | EN 17255-1:2019 | Stationary source emissions; Data acquisition and handling systems; Part 1: Specification of requirements for the handling and reporting of data | 2019-07 | standard | CEN | CEN/TC 264 | WG 9
emissions | quality assurance | data acquisition and handling systems |  | EN 17255-2:2020 | Stationary source emissions; Data acquisition and handling systems; Part 2: Specification of requirements on data acquisition and handling systems | 2020-04 | standard | CEN | CEN/TC 264 | WG 9
emissions | quality assurance | data acquisition and handling systems |  | EN 17255-3:2021-10 | Stationary source emissions; Data acquisition and handling systems; Part 3: Specification of the performance test of data acquisition and handling systems | 2021-10 | standard | CEN | CEN/TC 264 | WG 9
emissions | quality assurance | data acquisition and handling systems |  | EN 17255-4:2023 | Stationary source emissions; Data acquisition and handling systems; Part 4: requirements for the installation and on-going quality assurance and quality control of data acquisition and handling systems | 2023-04 | standard | CEN | CEN/TC 264 | WG 9
emissions | sampling | automated measuring systems |  | ISO 10396:2007 | Stationary source emissions — Sampling for the automated determination of gas emission concentrations for permanently-installed monitoring systems | 2007-02 | standard | ISO | ISO/TC 146/SC 1
emissions | quality assurance | automated measuring systems |  | ISO 20181:2023 = EN 14181:2014 | Stationary source emissions — Quality assurance of automated measuring systems | 2023-.02 | standard | ISO | ISO/TC 146/SC 1
emissions | quality assurance | basic requirements |  | ISO 15259:2023 = EN 15259:2007 | Air quality — Measurement of stationary source emissions — Requirements for measurement sections and sites and for the measurement objective, plan and report | 2023-05 | standard | ISO | ISO/TC 146/SC 1
emissions | greenhouse gases | automated measuring systems |  | ISO 14385-1:2014 | Stationary source emissions — Greenhouse gases — Part 1: Calibration of automated measuring systems | 2014-08 | standard | ISO | ISO/TC 146/SC 1 | WG 25
emissions | greenhouse gases | automated measuring systems |  | ISO 14385-2:2014 | Stationary source emissions — Greenhouse gases — Part 2: Ongoing quality control of automated measuring systems | 2014-08 | standard | ISO | ISO/TC 146/SC 1 | WG 25
emissions | greenhouse gases | calculation method |  | EN 19694-1:2016 | Stationary source emissions — Determination of greenhouse gas (GHG) emissions in energy-intensive industries — Part 1: General aspects | 2016-07 | standard | CEN | CEN/TC 264 | WG 33
emissions | greenhouse gases | calculation method |  | EN 19694-2:2016 | Stationary source emissions — Determination of greenhouse gas (GHG) emissions in energy-intensive industries — Part 2: Iron and steel industry | 2016-07 | standard | CEN | CEN/TC 264 | WG 33
emissions | greenhouse gases | calculation method |  | EN 19694-3:2016 | Stationary source emissions — Determination of greenhouse gas (GHG) emissions in energy-intensive industries — Part 3: Cement industry | 2016-07 | standard | CEN | CEN/TC 264 | WG 33
emissions | greenhouse gases | calculation method |  | EN 19694-4:2016 | Stationary source emissions — Determination of greenhouse gas (GHG) emissions in energy-intensive industries — Part 4: Aluminium industry | 2016-07 | standard | CEN | CEN/TC 264 | WG 33
emissions | greenhouse gases | calculation method |  | EN 19694-5:2016 | Stationary source emissions — Determination of greenhouse gas (GHG) emissions in energy-intensive industries — Part 5: Lime industry | 2016-07 | standard | CEN | CEN/TC 264 | WG 33
emissions | greenhouse gases | calculation method |  | EN 19694-6:2016 | Stationary source emissions — Determination of greenhouse gas (GHG) emissions in energy-intensive industries — Part 6: Ferroalloy industry | 2016-07 | standard | CEN | CEN/TC 264 | WG 33
emissions | greenhouse gases | calculation method |  | ISO 19694-1:2021 | Stationary source emissions — Determination of greenhouse gas (GHG) emissions in energy-intensive industries — Part 1: General aspects | 2021.05 | standard | ISO | ISO/TC 207/SC 7
emissions | greenhouse gases | calculation method |  | ISO 19694-3:2023 | Stationary source emissions — Determination of greenhouse gas (GHG) emissions in energy-intensive industries — Part 3: Cement industry | 2023-03 | standard | ISO | ISO/TC 146/SC 1 | WG 30
emissions | greenhouse gases | calculation method |  | ISO 19694-4:2023 | Stationary source emissions — Determination of greenhouse gas (GHG) emissions in energy-intensive industries — Part 4: Aluminium industry | 2023-03 | standard | ISO | ISO/TC 146/SC 1 | WG 30
emissions | greenhouse gases | calculation method |  | ISO 19694-5:2023 | Stationary source emissions — Determination of greenhouse gas (GHG) emissions in energy-intensive industries — Part 5: Lime industry | 2023-03 | standard | ISO | ISO/TC 146/SC 1 | WG 30
emissions | greenhouse gases | calculation method |  | ISO 19694-6:2023 | Stationary source emissions — Determination of greenhouse gas (GHG) emissions in energy-intensive industries — Part 6: Ferroalloy industry | 2023-03 | standard | ISO | ISO/TC 146/SC 1 | WG 30
emissions | fugitive dust emissions | reverse dispersion modelling |  | EN 15445:2008 | Fugitive and diffuse emissions of common concern to industry sectors — Qualification of fugitive dust sources by Reverse Dispersion Modelling | 2008-01 | standard | CEN | CEN/TC 264 | WG 17
emissions | fugitive vapour emissions |  |  | EN 15446:2008 | Fugitive and diffuse emissions of common concern to industry sectors — Measurement of fugitive emission of vapours generating from equipment and piping leaks | 2008-01 | standard | CEN | CEN/TC 264 | WG 17
emissions | fugitive and diffuse emissions |  |  | EN 17628:2022 | Fugitive and diffuse emissions of common concern to industry sectors — Standard method to determine diffuse emissions of volatile organic compounds into the atmosphere | 2022-04 | standard | CEN | CEN/TC 264 | WG 38
emissions | bioaerosols | sampling |  | EN 17359:2020 | Stationary source emissions; Bioaerosols and biological agents; Sampling of bioaerosols and collection in liquids; Impingement method | 2020-08 | standard | CEN | CEN/TC 264 | WG 28
emissions | multiple gaseous species | FTIR |  | CEN/TS 17337 | Stationary source emissions; Determination of mass concentration of multiple gaseous species; Fourier Transform Infrared Spectroscopy | 2019-06 | TS | CEN | CEN/TC 264 | WG 36
emissions | PEMS | application, execution, quality assurance |  | CEN/TS 17198:2018-08 | Predictive Emission Monitoring Systems (PEMS) — Applicability, execution and quality assurance | 2018-08 | TS | CEN | CEN/TC 264 | WG 37
emissions | equivalence of methods | statistical method |  | EN 14793:2017 | Stationary source emissions — Demonstration of equivalence of an alternative method with a reference method | 2017-01 | standard | CEN | CEN/TC 264 | WG 16
emissions | quality assurance | measurement planning |  | EN 15259:2007 | Air quality — Measurement of stationary source emissions — Requirements for measurement sections and sites and for the measurement objective, plan and report | 2007-10 | standard | CEN | CEN/TC 264 | WG 19
emissions | quality assurance | elaboration of methods |  | CEN/TS 15674:2007 | Air quality — Measurement of stationary source emissions — Guidelines for the elaboration of standardised methods | 2007-10 | TS | CEN | CEN/TC 264 | WG 19
emissions | quality assurance | elaboration of methods |  | CEN/TR 17911:2023 | Stationary source emissions — Guideline for the elaboration of standardized measurement methods — Recommendations for the structure and content | 2023-05 | TR | CEN | CEN/TC 264 | WG 46
general aspects | vocabulary |  |  | ISO 4225:2020 | Air quality — General aspects — Vocabulary | 2020-05 | standard | ISO | ISO/TC 146/SC 4 | WG 1
general aspects | units |  |  | ISO 4226:2007 | Air quality — General aspects — Units of measurement | 2007-12 | standard | ISO | ISO/TC 146/SC 4 | WG 2
general aspects | measurement planning | stratified sampling |  | ISO 9359:1989 | Air quality — Stratified sampling method for assessment of ambient air quality | 1989-09 | standard | ISO | ISO/TC 146/SC 4 | WG 2
general aspects | exchange of data |  |  | ISO 7168-1:1999 | Air quality — Exchange of data — Part 1: General data format | 1999-07 | standard | ISO | ISO/TC 146/SC 4 | WG 8
general aspects | exchange of data |  |  | ISO 7168-2:1999 | Air quality — Exchange of data — Part 2: Condensed data format | 1999-07 | standard | ISO | ISO/TC 146/SC 4 | WG 8
general aspects | data handling |  |  | ISO 8756:1994 | Air quality — Handling of temperature, pressure and humidity data | 1994-01 | standard | ISO | ISO/TC 146/SC 4 | WG 4
general aspects | mass emissions | data evaluation |  | ISO 11771:2010 EN ISO 11771:2010 | Air quality — Determination of time-averaged mass emissions and emission factors — General approach | 2010-12 | standard | VA | CEN/TC 264 | WG 24
general aspects | performance testing | automated measuring systems |  | ISO 9169:2006 EN ISO 9169:2006 | Air quality — Definition and determination of performance characteristics of an automatic measuring system | 2006-07 2006-07 | standard | VA | ISO/TC 146/SC 4 | WG 4
general aspects | performance testing | automated measuring systems |  | EN 15267-1:2023 | Air quality — Assessment of air quality monitoring equipment — Part 1: General principles of certification (Revision of EN 15267-1:2009) | 2023-06 | standard | CEN | CEN/TC 264 | WG 9
general aspects | performance testing | automated measuring systems |  | EN 15267-2:2023 | Air quality — Assessment of air quality monitoring equipment — Part 2: Initial assessment of the manufacturer’s quality management system and post certification surveillance for the manufacturing process (Revision of EN 15267-2:2009) | 2023-06 | standard | CEN | CEN/TC 264 | WG 9
general aspects | performance testing | automated measuring systems |  | EN 15267-3:2007 | Air quality — Certification of automated measuring systems — Part 3: Performance criteria and test procedures for automated measuring systems for monitoring emissions from stationary sources | 2007-12 | standard | CEN | CEN/TC 264 | WG 22
general aspects | performance testing | automated measuring systems |  | EN 15267-4:2017 | Air quality — Certification of automated measuring systems — Part 4: Performance criteria and test procedures for automated measuring systems for periodic measurements of emissions from stationary sources | 2017-01 | standard | CEN | CEN/TC 264 | WG 16
general aspects | performance testing | automated measuring systems |  | EN 15859:2010 | Air quality — Certification of automated dust arrestment plant monitors for use on stationary sources — Performance criteria and test procedures | 2010-04 | standard | CEN | CEN/TC 264 | WG 22
general aspects | performance testing | electronic sensors |  | CEN/TS 17660-1:2021 | Air quality; Performance evaluation of air quality sensor systems; Part 1: Gaseous pollutants in ambient air | 2021-12 | TS | CEN | CEN/TC 264 | WG 42
general aspects | measurement uncertainty | data evaluation |  | ISO 20988:2007 EN ISO 20988:2007 | Air quality — Guidelines for estimating measurement uncertainty | 2007-06 2007-06 | standard | VA | ISO/TC 146/SC 4 | WG 2
general aspects | measurement uncertainty | data evaluation |  | ISO 14956:2002 EN ISO 14956:2002 | Air quality — Evaluation of the suitability of a measurement method by comparison with a stated measurement uncertainty | 2002-08 2002-08 | standard | VA | ISO/TC 146/SC 4 | WG 7
general aspects | uncertainty | data evaluation |  | ISO 11222:2002 | Air quality — Determination of the uncertainty of the time average of air quality measurements | 2002-07 | standard | ISO | ISO/TC 146/SC 4 | WG 2
general aspects | uncertainty | data evaluation |  | ISO 13752:1998 | Air quality — Assessment of uncertainty of a measurement method under field conditions using a second method as reference | 1998-04 | standard | ISO | ISO/TC 146/SC 4 | WG 4
indoor air | VOC | test chambers |  | ISO 12219-1:2021 | Interior air of road vehicles — Part 1: Whole vehicle test chamber — Specification and method for the determination of volatile organic compounds in cabin interiors | 2021:08 | standard | ISO | ISO/TC 146/SC 6 | WG 13
indoor air | VOC | bag method |  | ISO 12219-2:2012 | Interior air of road vehicles — Part 2: Screening method for the determination of the emissions of volatile organic compounds from vehicle interior parts and materials — Bag method | 2012-06 | standard | ISO | ISO/TC 146/SC 6 | WG 13
indoor air | VOC | micro-scale chamber method |  | ISO 12219-3:2012 | Interior air of road vehicles — Part 3: Screening method for the determination of the emissions of volatile organic compounds from vehicle interior parts and materials — Micro-scale chamber method | 2012-06 | standard | ISO | ISO/TC 146/SC 6 | WG 13
indoor air | VOC | small chamber method |  | ISO 12219-4:2013 | Interior air of road vehicles — Part 4: Method for the determination of the emissions of volatile organic compounds from vehicle interior parts and materials — Small chamber method | 2013-04 | standard | ISO | ISO/TC 146/SC 6 | WG 13
indoor air | VOC | static chamber method |  | ISO 12219-5:2014 | Interior air of road vehicles — Part 5: Screening method for the determination of the emissions of volatile organic compounds from vehicle interior parts and materials — Static chamber method | 2014-05 | standard | ISO | ISO/TC 146/SC 6 | WG 13
indoor air | VOC | small chamber method |  | ISO 12219-6:2017 | Interior air of road vehicles — Part 6: Method for the determination of the emissions of semi-volatile organic compounds from vehicle interior parts and materials at higher temperature — Small chamber method | 2017-02 | standard | ISO | ISO/TC 146/SC 6 | WG 13
indoor air | odour | olfactometry |  | ISO 12219-7:2017 | Interior air of road vehicles — Part 7: Odour determination in interior air of road vehicles and test chamber air of trim components by olfactory measurements | 2017-02 | standard | ISO | ISO/TC 146/SC 6 | WG 13
indoor air | emission testing | handling and packaging |  | ISO 12219-8:2018 | Interior air of road vehicles — Part 8: Handling and packaging of materials and components for emissions testing | 2018-10 | standard | ISO | ISO/TC 146/SC 6 | WG 13
indoor air | VOC | large bag method |  | ISO 12219-9:2019 | Interior air of road vehicles — Part 9: Screening method for the determination of the emissions of volatile organic compounds from vehicle interior parts and materials — Large bag method | 2019-04 | standard | ISO | ISO/TC 146/SC 6 | WG 13
indoor air | VOC | whole vehicle test chamber |  | ISO 12219-10:2021 | Interior air of road vehicles — Part 10: Whole vehicle test chamber — Specification and methods for the determination of volatile organic compounds in cabin interiors — Trucks and buses | 2021-06 | standard | ISO | ISO/TC 146/SC 6 | WG 13
indoor air | gases and vapours | diffusive sampling |  | EN 14412:2004 | Indoor air quality — Diffusive samplers for the determination of concentrations of gases and vapours — Guide for selection, use and maintenance | 2004-09 | standard | CEN | CEN/TC 264 | WG 11
indoor air |  | sampling strategy |  | ISO 16000-1:2004 EN ISO 16000-1:2006 | Indoor air — Part 1: General aspects of sampling strategy | 2004-07 2006-04 | standard | VA | ISO/TC 146/SC 6 | WG 1
indoor air | formaldehyde | sampling strategy |  | ISO 16000-2:2004 EN ISO 16000-2:2006 | Indoor air — Part 2: Sampling strategy for formaldehyde | 2004-07 2006-04 | standard | VA | ISO/TC 146/SC 6 | WG 2
indoor air | formaldehyde | active sampling |  | ISO 16000-3:2022 | Indoor air — Part 3: Determination of formaldehyde and other carbonyl compounds in indoor air and test chamber air — Active sampling method | 2022-09 | standard | ISO | ISO/TC 146/SC 6 | WG 2
indoor air | formaldehyde | diffusive sampling |  | ISO 16000-4:2011 | Indoor air — Part 4: Determination of formaldehyde — Diffusive sampling method | 2011-12 | standard | ISO | ISO/TC 146/SC 6 | WG 2
indoor air | VOC | sampling strategy |  | ISO 16000-5:2007 EN ISO 16000-5:2007 | Indoor air — Part 5: Sampling strategy for volatile organic compounds (VOCs) | 2007-02 2007-02 | standard | VA | ISO/TC 146/SC 6 | WG 33
indoor air | VOC | active sampling |  | ISO 16000-6:2021 | Indoor air — Part 6: Determination of volatile organic compounds in indoor and test chamber air by active sampling on Tenax TA® sorbent, thermal desorption and gas chromatography using MS or MS-FID | 2021-08 | standard | ISO | ISO/TC 146/SC 6 | WG 3
indoor air | asbestos | sampling strategy |  | ISO 16000-7:2007 EN ISO 16000-7:2007 | Indoor air — Part 7: Sampling strategy for determination of airborne asbestos fibre concentrations | 2007-08 2007-08 | standard | VA | ISO/TC 146/SC 6 | WG 4
indoor air | local mean ages of air |  |  | ISO 16000-8:2007 | Indoor air — Part 8: Determination of local mean ages of air in buildings for characterizing ventilation conditions | 2007-10 | standard | ISO | ISO/TC 146/SC 6 | WG 6
indoor air | VOC | emission test chamber |  | ISO 16000-9:2006 (+C1:2007) EN ISO 16000-9:2006 / AC:2007 | Indoor air — Part 9: Determination of the emission of volatile organic compounds from building products and furnishing — Emission test chamber method | 2007-12 2007-12 | standard | VA | ISO/TC 146/SC 6 | WG 3
indoor air | VOC | emission test cell |  | ISO 16000-10:2006 EN ISO 16000-10:2006 | Indoor air — Part 10: Determination of the emission of volatile organic compounds from building products and furnishing — Emission test cell method | 2006-02 2006-02 | standard | VA | ISO/TC 146/SC 6 | WG 3
indoor air | VOC | sampling and storage |  | ISO 16000-11:2006 EN ISO 16000-11:2006 | Indoor air — Part 11: Determination of the emission of volatile organic compounds from building products and furnishing — Sampling, storage of samples and preparation of test specimens | 2006-02 2006-02 | standard | VA | ISO/TC 146/SC 6 | WG 3
indoor air | PCB, PCDD, PCDF, PAH | sampling strategy |  | ISO 16000-12:2008 EN ISO 16000-12:2008 | Indoor air — Part 12: Sampling strategy for polychlorinated biphenyls (PCBs), polychlorinated dibenzo-p-dioxins (PCDDs), polychlorinated dibenzofurans (PCDFs) and polycyclic aromatic hydrocarbons (PAHs) | 2008-04 2008-04 | standard | VA | ISO/TC 146/SC 6 | WG 8
indoor air | PCB, PCDD, PCDF | sorbent-backed filters |  | ISO 16000-13:2008 | Indoor air — Part 13: Determination of total (gas and particle-phase) polychlorinated dioxin-like biphenyls (PCBs) and polychlorinated dibenzo-p-dioxins/dibenzofurans (PCDDs/PCDFs) - Collection on sorbent-backed filters | 2008-11 | standard | ISO | ISO/TC 146/SC 6 | WG 9
indoor air | PCB, PCDD, PCDF | HR GC-MS |  | ISO 16000-14:2009 | Indoor air — Part 14: Determination of total (gas and particle-phase) polychlorinated dioxin-like biphenyls (PCBs) and polychlorinated dibenzo-p-dioxins/dibenzofurans (PCDDs/PCDFs) - Extraction, clean-up and analysis by high-resolution gas chromatography and mass spectrometry | 2009-05 | standard | ISO | ISO/TC 146/SC 6 | WG 9
indoor air | nitrogen dioxide | sampling strategy |  | ISO 16000-15:2008 EN ISO 16000-15:2008 | Indoor air — Part 15: Sampling strategy for nitrogen dioxide (NO2) | 2008-07 2008-07 | standard | VA | ISO/TC 146/SC 6 | WG 7
indoor air | moulds | sampling by filtration |  | ISO 16000-16:2008 | Indoor air — Part 16: Detection and enumeration of moulds — Sampling by filtration | 2008-12 | standard | ISO | ISO/TC 146/SC 6 | WG 10
indoor air | moulds | culture-based |  | ISO 16000-17:2008 (+ Cor 1:2009) | Indoor air — Part 17: Detection and enumeration of moulds — Culture-based method | 2008-12 | standard | ISO | ISO/TC 146/SC 6 | WG 10
indoor air | moulds | sampling by impaction |  | ISO 16000-18:2011 (+Cor1:2011) | Indoor air — Part 19: Detection and enumeration of moulds — Sampling by impaction | 2011-07 | standard | ISO | ISO/TC 146/SC 6 | WG 10
indoor air | moulds | sampling strategy |  | ISO 16000-19:2012 EN ISO 16000-19:2014 | Indoor air — Part 19: Sampling strategy for moulds | 2012-06 2014-10 | standard | VA | ISO/TC 146/SC 6 | WG 10
indoor air | moulds |  |  | ISO 16000-20:2014 | Indoor air — Part 20: Detection and enumeration of moulds — Determination of total spore count | 2014-12 | standard | ISO | ISO/TC 146/SC 6 | WG 10
indoor air | moulds | sampling |  | ISO 16000-21:2013 | Indoor air — Part 21: Detection and enumeration of moulds — Sampling from materials | 2013-12 | standard | ISO | ISO/TC 146/SC 6 | WG 10
indoor air | formaldehyde | sorptive building materials |  | ISO 16000-23:2018 | Indoor air — Part 23: Performance test for evaluating the reduction of formaldehyde concentrations by sorptive building materials (Revision of ISO 16000-23:2009) | 2018-12 | standard | ISO | ISO/TC 146/SC 6 | WG 11
indoor air | VOC | sorptive building materials |  | ISO 16000-24:2018 | Indoor air — Part 24: Performance test for evaluating the reduction of volatile organic compound (except formaldehyde) concentrations by sorptive building materials (Revision of ISO 16000-24:2009) | 2018-12 | standard | ISO | ISO/TC 146/SC 6 | WG 11
indoor air | VOC | micro-chamber |  | ISO 16000-25:2011 | Indoor air — Part 25: Determination of the emission of semi-volatile organic compounds by building products — Micro-chamber method | 2011-07 | standard | ISO | ISO/TC 146/SC 6 | WG 12
indoor air | carbon dioxide | sampling strategy |  | ISO 16000-26:2012 EN ISO 16000-26:2012 | Indoor air — Part 26: Sampling strategy for carbon dioxide (CO2) | 2012-08 2012-08 | standard | VA | ISO/TC 146/SC 6 | WG 15
indoor air | settled fibrous dust | SEM |  | ISO 16000-27:2014 | Indoor air — Part 27: Determination of settled fibrous dust on surfaces by SEM (scanning electron microscopy) (direct method) | 2014-06 | standard | ISO | ISO/TC 146/SC 6 | WG 4
indoor air | odour | test chambers |  | ISO 16000-28:2020 | Indoor air — Part 28: Determination of odour emissions from building products using test chambers | 2020-11 | standard | ISO | ISO/TC 146/SC 6 | WG 14
indoor air | VOC | test method |  | ISO 16000-29:2014 | Indoor air — Part 29: Test methods for VOC detectors | 2014-06 | standard | ISO | ISO/TC 146/SC 6 | WG 16
indoor air | odour | sensory testing |  | ISO 16000-30:2014 | Indoor air — Part 30: Sensory testing of indoor air | 2014-09 | standard | ISO | ISO/TC 146/SC 6 | WG 17
indoor air | flame retardants and plasticizers |  |  | ISO 16000-31:2014 | Indoor air — Part 31: Measurement of flame retardants and plasticizers based on organophosphorus compounds — Phosphoric acid ester | 2014-05 | standard | ISO | ISO/TC 146/SC 6 | WG 18
indoor air | pollutants |  |  | ISO 16000-32:2014 EN ISO 16000-32:2014 | Indoor air — Part 32: Investigation of buildings for the occurrence of pollutants | 2014-07 2014-07 | standard | VA | ISO/TC 146/SC 6 | WG 19
indoor air | phthalates | GC-MS |  | ISO 16000-33:2017 | Indoor air — Part 33: Determination of phthalates with gas chromatography/mass spectrometry (GC/MS) | 2017-08 | standard | ISO | ISO/TC 146/SC 6 | WG 20
indoor air | airborne particles | measurement strategy |  | ISO 16000-34:2018 | Indoor air — Part 34: Strategies for the measurement of airborne particles | 2018-08 | standard | ISO | ISO/TC 146/SC 6 | WG 21
indoor air | airborne bacteria | test method |  | ISO 16000-36:2018 | Indoor air — Part 36: Test method for the reduction rate of airborne bacteria by air purifiers using a test chamber | 2018-10 | standard | ISO | ISO/TC 146/SC 6 | WG 10
indoor air | PM2,5 |  |  | ISO 16000-37:2019 | Indoor air — Part 37: Measurement of PM2,5 mass concentration | 2019-02 | standard | ISO | ISO/TC 146/SC 6 | WG 21
indoor air | amines | active sampling |  | ISO 16000-38:2019 | Indoor air — Part 38: Determination of amines in indoor and test chamber air — Active sampling on samplers containing phosphoric acid impregnated filters | 2019-02 | standard | ISO | ISO/TC 146/SC 6 | WG 23
indoor air | amines | HPLC, MS-MS |  | ISO 16000-39:2019 | Indoor air — Part 39: Determination of amines in indoor and test chamber air — Analysis of amines by means of high-performance liquid chromatography (HPLC) coupled with tandem mass spectrometry (MS MS) | 2019-06 | standard | ISO | ISO/TC 146/SC 6 | WG 23
indoor air | quality management |  |  | ISO 16000-40:2019 | Indoor air; Part 40: Indoor air quality management system | 2019-07 | standard | ISO | ISO/TC 146/SC 6 | WG 24
indoor air |  |  |  | ISO 16000-41:2023 | Indoor air - Part 41: Assessment and classification | 2023-08 | standard | ISO | ISO/TC 146/SC 6 | WG 24
indoor air |  |  |  | ISO 16000-42:2023 | Indoor air - Part 42: Measurement of the particle number concentration by condensation particle counters | 2023-08 | standard | ISO | ISO/TC 146/SC 6 | WG 21
indoor air | VOC | sampling |  | ISO 16017-1:2000 EN ISO 16017-1:2000 | Indoor, ambient and workplace air — Sampling and analysis of volatile organic compounds by sorbent tube/thermal desorption/capillary gas chromatography — Part 1: Pumped sampling | 2000-11 2000-11 | standard | VA | ISO/TC 146/SC 6 | WG 5
indoor air | VOC | sampling |  | ISO 16017-2:2003 EN ISO 16017-2:2003 | Indoor, ambient and workplace air — Sampling and analysis of volatile organic compounds by sorbent tube/thermal desorption/capillary gas chromatography — Part 2: Diffusive sampling | 2003-05 2003-05 | standard | VA | ISO/TC 146/SC 6 | WG 5
meteorology
meteorology | wind | test method |  | ISO 16622:2002 | Meteorology — Sonic anemometers/thermometers — Acceptance test methods for mean wind measurements | 2002-09 | standard | ISO | ISO/TC 146/SC 5 | WG 2
meteorology | wind | test method |  | ISO 17713-1:2007 | Meteorology — Wind measurements — Part 1: Wind tunnel test methods for rotating anemometer performance | 2007-05 | standard | ISO | ISO/TC 146/SC 5 | WG 1
meteorology | air temperature | test method |  | ISO 17714:2007 | Meteorology — Air temperature measurements — Test methods for comparing the performance of thermometer shields/screens and defining important characteristics | 2007-07 | standard | ISO | ISO/TC 146/SC 5 | WG 3
meteorology | siting classifications |  |  | ISO 19289:2015 | Air quality — Meteorology — Siting classifications for surface observing stations on land | 2015-03 | standard | ISO | ISO/TC 146/SC 5
meteorology | weather radar |  |  | ISO 19926-1:2019 | Meteorology; Weather radar; Part 1: System performance and operation | 2019-02 | standard | ISO | ISO/TC 146/SC 5 | WG 7
meteorology | wind profiler |  |  | ISO 23032:2022 | Meteorology; Ground-based remote sensing of wind; Radar wind profiler | 2022-12 | standard | ISO | ISO/TC 146/SC 5 | WG 8
meteorology | snow depth | sensors |  | ISO 23435:2022 | Air quality — Test methods for snow depth sensors | 2022-05 | standard | ISO | ISO/TC 146/SC 5 | WG 8
meteorology | ground based remote sensing | lidar |  | ISO 28902-1:2012 | Air quality — Environmental meteorology — Part 1: Ground-based remote sensing of visual range by lidar | 2012-01 | standard | ISO | ISO/TC 146/SC 5 | WG 6
meteorology | ground based remote sensing | lidar |  | ISO 28902-2:2017 | Air quality — Environmental meteorology — Part 2: Ground-based remote sensing of wind by heterodyne pulsed Doppler lidar | 2017-07 | standard | ISO | ISO/TC 146/SC 5 | WG 6
meteorology | ground based remote sensing | lidar |  | ISO 28902-3:2018 | Air quality; Environmental meteorology; Part 3: Ground-based remote sensing of wind by continuous-wave Doppler lidar | 2018-11 | standard | ISO | ISO/TC 146/SC 5 | WG 6
workplace air | airborne particles | size fraction definitions |  | EN 481:1993 | Workplace atmospheres — Size fraction definitions for measurement of airborne particles | 1993-07 | standard | CEN | CEN/TC 137 | WG 3
workplace air | airborne water immiscible mineral oil droplets and vapor | FTIR |  | ISO 23506:2021 | Workplace air — Analysis of airborne water immiscible mineral oil droplets and vapor with Fourier-Transform infrared spectroscopy | 2021-04 | standard | ISO | ISO/TC 146/SC 2 | WG 4
workplace air | chemical agents |  |  | EN 482:2021 | Workplace exposure — Procedures for the determination of the concentration of chemical agents — Basic performance requirements | 2021-03 | standard | CEN | CEN/TC 137 | WG 2
workplace air | chemical agents | exposure assessment |  | EN 689:1995 | Workplace atmospheres — Guidance for the assessment of exposure by inhalation to chemical agents for comparison with limit values and measurement strategy | 1995-04 | standard | CEN | CEN/TC 137 | WG 1
workplace air | semi-volatile chemical agents | pumped samplers |  | ISO 23861:2022 EN ISO 23861:2022 | Workplace air — Procedures for measuring a semi-volatile chemical agent using pumped samplers — Requirements and test methods | 2022-09 | standard | VA | ISO/TC 146/SC 2
workplace air | gases and vapours | diffusive samplers |  | EN 838:2010 | Workplace exposure — Procedures for measuring gases and vapours using diffusive samplers — Requirements and test methods | 2010-02 | standard | CEN | CEN/TC 137 | WG 2
workplace air | gases and vapours | diffusive samplers |  | ISO 23320:2022 EN ISO 23320:2022 | Workplace air — Gases and vapours — Requirements for evaluation of measuring procedures using diffusive samplers |  | standard | VA | ISO/TC 146/SC 2 | WG 10
workplace air | gases and vapours |  |  | EN 1076:2009 | Workplace exposure — Procedures for measuring gases and vapours using pumped samplers — Requirements and test methods | 2009-12 | standard | CEN | CEN/TC 137 | WG 2
workplace air | gases and vapours | pumped sampling |  | ISO 22065:2020 EN ISO 22065:2020 | Workplace air — Gases and vapours — Requirements for evaluation of measuring procedures using pumped samplers | 2020-11 | standard | VA | ISO/TC 146/SC 2
workplace air | terminology |  |  | EN 1540:2021 | Workplace exposure — Terminology (Revision of EN 1540:2011) | 2021-12 | standard | CEN | CEN/TC 137
workplace air | particle size |  |  | ISO 7708:1995 | Air quality — Particle size fraction definitions for health-related sampling | 1995-04 | standard | ISO | ISO/TC 146/SC 2
workplace air | lead | Flame AAS/ETAAS |  | ISO 8518:2022 | Workplace air — Determination of particulate lead and lead compounds — Flame or electrothermal atomic absorption spectrometric method | 2022-10 | standard | ISO | ISO/TC 146/SC 2
workplace air | airborne inorganic fibres | membrane filter method |  | ISO 8672:2014 | Air quality — Determination of the number concentration of airborne inorganic fibres by phase contrast optical microscopy — Membrane filter method | 2014-05 | standard | ISO | ISO/TC 146/SC 2
workplace air | carbon monoxide | short-term sampling |  | ISO 8760:1990 (+Cor1:2009) | Workplace air — Determination of mass concentration of carbon monoxide — Method using detector tubes for short-term sampling with direct indication | 1990-02 | standard | ISO | ISO/TC 146/SC 2
workplace air | nitrogen dioxide | short-term sampling |  | ISO 8761:1989 (+Cor1:2009) | Workplace air — Determination of mass concentration of nitrogen dioxide — Method using detector tubes for short-term sampling with direct indication | 1989-11 | standard | ISO | ISO/TC 146/SC 2
workplace air | hydrocarbons | charcoal tube/solvent desorption/GC |  | ISO 9486:1991 | Workplace air — Determination of vaporous chlorinated hydrocarbons — Charcoal tube/solvent desorption/gas chromatographic method | 1991-08 | standard | ISO | ISO/TC 146/SC 2
workplace air | hydrocarbons | charcoal tube/solvent desorption/GC |  | ISO 9487:1991 | Workplace air — Determination of vaporous aromatic hydrocarbons — Charcoal tube/solvent desorption/gas chromatographic method | 1991-08 | standard | ISO | ISO/TC 146/SC 2
workplace air | arsenic | AAS, hydride generation |  | ISO 11041:1996 | Workplace air — Determination of particulate arsenic and arsenic compounds and arsenic trioxide vapour — Method by hydride generation and atomic absorption spectrometry | 1996-04 | standard | ISO | ISO/TC 146/SC 2
workplace air | cadmium | Flame AAS/ET-AAS |  | ISO 11174:1996 | Workplace air — Determination of particulate cadmium and cadmium compounds — Flame and electrothermal atomic absorption spectrometric method | 1996-04 | standard | ISO | ISO/TC 146/SC 2
workplace air | cadmium | Flame AAS/ET-AAS |  | ISO 11174:2023 | Workplace air — Determination of particulate cadmium and cadmium compounds — Flame and electrothermal atomic absorption spectrometric method (Revision of ISO 11174:1996) | 2023-05 | standard | ISO | ISO/TC 146/SC 2
workplace air | airborne micro-organisms and endotoxin |  |  | EN 13098:2019 | Workplace exposure — Measurement of airborne microorganisms and microbial compounds — General requirements | 2019-09 | standard | CEN | CEN/TC 137 | WG 5
workplace air | chemical and biological agents | sampling |  | ISO 13137:2022 EN ISO 13137:2022 | Workplace atmospheres — Pumps for personal sampling of chemical and biological agents — Requirements and test methods | 2022-10 | standard | VA | ISO/TC 146/SC 2
workplace air | airborne particles | sampling |  | ISO 13138:2013 EN ISO 13138:2013 | Air quality — Sampling conventions for airborne particle deposition in the human respiratory system | 2012-01 | standard | VA | ISO/TC 146/SC 2
workplace air | airborne particles | sampler performance |  | EN 13205-1:2014 | Workplace exposure — Assessment of sampler performance for measurement of airborne particle concentrations — Part 1: General requirements | 2014-06 | standard | CEN | CEN/TC 137 | WG 3
workplace air | airborne particles | sampler performance |  | EN 13205-2:2014 | Workplace exposure — Assessment of sampler performance for measurement of airborne particle concentrations — Part 2: Laboratory performance test based on determination of sampling efficiency | 2014-06 | standard | CEN | CEN/TC 137 | WG 3
workplace air | airborne particles | sampler performance |  | CEN/TR 13205-3:2014 | Workplace exposure — Assessment of sampler performance for measurement of airborne particle concentrations — Part 3: Analysis of sampling efficiency data | 2014-06 | TR | CEN | CEN/TC 137 | WG 3
workplace air | airborne particles | sampler performance |  | EN 13205-4:2014 | Workplace exposure — Assessment of sampler performance for measurement of airborne particle concentrations — Part 4: Laboratory performance test based on comparison of concentrations | 2014-06 | standard | CEN | CEN/TC 137 | WG 3
workplace air | airborne particles | sampler performance |  | EN 13205-5:2014 | Workplace exposure — Assessment of sampler performance for measurement of airborne particle concentrations — Part 5: Aerosol sampler performance test and sampler comparison carried out at workplaces | 2014-06 | standard | CEN | CEN/TC 137 | WG 3
workplace air | airborne particles | sampler performance |  | EN 13205-6:2014 | Workplace exposure — Assessment of sampler performance for measurement of airborne particle concentrations — Part 6: Transport and handling tests | 2014-06 | standard | CEN | CEN/TC 137 | WG 3
workplace air | airborne particles | test method |  | EN 13890:2009 | Workplace exposue — Procedures for measuring metals and metalloids in airborne particles — Requirements and test methods | 2009-10 | standard | CEN | CEN/TC 137 | WG 2
workplace air | airborne particles | test method |  | EN 13936:2014 | Workplace exposure — Procedures for measuring a chemical agent present as a mixture of airborne particles and vapours — Requirements and test methods | 2014-01 | standard | CEN | CEN/TC 137 | WG 2
workplace air | airborne particles | test method |  | ISO 21832:2018 EN ISO 21832:2020 | Workplace air — Metals and metalloids in airborne particles — Requirements for evaluation of measuring procedures | 2018-xx | standard | ISO | ISO/TC 146/SC 2
workplace air | airborne endotoxins |  |  | EN 14031:2021 | Workplace exposure — Quantitative measurement of airborne endotoxins | 2021-xx | standard | CEN | CEN/TC 137 | WG 5
workplace air | toluene diisocyanate vapours | HPLC |  | ISO 14382:2012 | Workplace atmospheres — Determination of toluene diisocyanate vapours using 1-(2-pyridyl)piperazine-coated glass fibre filters and analysis by high performance liquid chromatography with ultraviolet and fluorescence detectors | 2012-12 | standard | ISO | ISO/TC 146/SC 2
workplace air | particulate matter |  |  | EN 14530:2004 | Workplace atmospheres — Determination of diesel particulate matter — General requirements | 2004-04 | standard | CEN | CEN/TC 137 | WG 2
workplace air | bioaerosol | sampling devices |  | EN 14583:2021 | Workplace atmospheres — Volumetric bioaerosol sampling devices — Requirements and test methods | 2021-12 | standard | CEN | CEN/TC 137 | WG 5
workplace air | bulk materials | test method |  | EN 15051-1:2013 | Workplace exposure — Measurement of the dustiness of bulk materials — Part 1: Requirements and choice of test methods | 2013-11 | standard | CEN | CEN/TC 137 | WG 3
workplace air | bulk materials | rotating drum method |  | EN 15051-2:2013 +A1:2016 | Workplace exposure — Measurement of the dustiness of bulk materials — Part 2: Rotating drum method | 2013-11 | standard | CEN | CEN/TC 137 | WG 3
workplace air | bulk materials | continuous drop method |  | EN 15051-3:2013 | Workplace exposure — Measurement of the dustiness of bulk materials — Part 3: Continuous drop method | 2013-11 | standard | CEN | CEN/TC 137 | WG 3
workplace air | metals and metailloids | ICP-AES, sampling |  | ISO 15202-1:2020 | Workplace air — Determination of metals and metalloids in airborne particulate matter by inductively coupled plasma atomic emission spectrometry — Part 1: Sampling | 2020-06 | standard | ISO | ISO/TC 146/SC 2
workplace air | metals and metailloids | ICP-AES, sample preparation |  | ISO 15202-2:2020 | Workplace air — Determination of metals and metalloids in airborne particulate matter by inductively coupled plasma atomic emission spectrometry — Part 2: Sample preparation | 2020-06 | standard | ISO | ISO/TC 146/SC 2
workplace air | metals and metailloids | ICP-AES, analysis |  | ISO 15202-3:2004 | Workplace air — Determination of metals and metalloids in airborne particulate matter by inductively coupled plasma atomic emission spectrometry — Part 3: Analysis | 2004-11 | standard | ISO | ISO/TC 146/SC 2
workplace air | dermal exposure |  |  | ISO/TR 14294:2011 | Workplace atmospheres — Measurement of dermal exposure — Principles and methods | 2011-11 | TR | ISO | ISO/TC 146/SC 2
workplace air | dermal exposure |  |  | CEN/TR 15278:2006 | Workplace exposure — Strategy for the evaluation of dermal exposure | 2006-03 | TR | CEN | CEN/TC 137 | WG 6
workplace air | dermal exposure |  |  | CEN/TS 15279:2006 | Workplace exposure — Measurement of dermal exposure — Principles and methods | 2006-03 | TS | CEN | CEN/TC 137 | WG 6
workplace air | aerosol fractions | sampling |  | CEN/TR 15230:2005 | Workplace atmospheres — Guidance for sampling of inhalable, thoracic and respirable aerosol fractions | 2005-08 | TR | CEN | CEN/TC 137 | WG 3
workplace air | aerosol fractions | sampling |  | CEN/TR 15547:2007 | Workplace atmospheres — Calculation of the health-related aerosol fraction concentration from the concentration measured by a sampler with known performance characteristics | 2007-02 | TR | CEN | CEN/TC 137 | WG 3
workplace air | aerosols | measurement uncertainty |  | ISO 15767:2009 | Workplace atmospheres — Controlling and characterizing uncertainty in weighing collected aerosols | 2009-06 | standard | ISO | ISO/TC 146/SC 2
workplace air | aerosols | direct reading instruments |  | CEN/TR 16013-1:2010 | Workplace exposure — Guide for the use for direct-reading instruments for aerosol monitoring — Part 1: Choice of monitor for specific applications | 2010-05 | TR | CEN | CEN/TC 137 | WG 3
workplace air | aerosols | optical particle counters |  | CEN/TR 16013-2:2010 | Workplace exposure — Guide for the use for direct-reading instruments for aerosol monitoring — Part 2: Evaluation of airborne particle concentrations using Optical Particle Counters | 2010-05 | TR | CEN | CEN/TC 137 | WG 3
workplace air | aerosols | photometers |  | CEN/TR 16013-3:2012 | Workplace exposure — Guide for the use for direct-reading instruments for aerosol monitoring — Part 3: Evaluation of airborne particle concentrations using photometers | 2012-10 | TR | CEN | CEN/TC 137 | WG 3
workplace air | diffusive samplers | diffusive sampling |  | ISO 16107:2007 | Workplace atmospheres — Protocol for evaluating the performance of diffusive samplers | 2007-10 | standard | ISO | ISO/TC 146/SC 2
workplace air | VOC | pumped samling |  | ISO 16200-1:2001 | Workplace air quality — Sampling and analysis of volatile organic compounds by solvent desorption/gas chromatography — Part 1: Pumped sampling method | 2001-08 | standard | ISO | ISO/TC 146/SC 2
workplace air | VOC | diffusive sampling |  | ISO 16200-2:2000 | Workplace air quality — Sampling and analysis of volatile organic compounds by solvent desorption/gas chromatography — Part 2: Diffusive sampling method | 2000-06 | standard | ISO | ISO/TC 146/SC 2
workplace air | crystalline silica | x-ray diffraction |  | ISO 16258-1:2015 | Workplace air — Analysis of respirable crystalline silica by x-ray diffraction — Part 1: Direct on-filter method | 2015-10 | standard | ISO | ISO/TC 146/SC 2 | WG 7
workplace air | crystalline silica | x-ray diffraction |  | ISO 16258-2:2015 | Workplace air — Analysis of respirable crystalline silica by x-ray diffraction — Part 2: Method by indirect analysis | 2015-10 | standard | ISO | ISO/TC 146/SC 2 | WG 7
workplace air | crystalline silica | FTIR |  | ISO 19087:2018 | Workplace air — Analysis of respirable crystalline silica by Fourier-Transform Infrared spectrometry | 2018-07 | standard | ISO | ISO/TC 146/SC 2 | WG 7
workplace air | crystalline silica |  |  | ISO 24095:2021 | Workplace air — Minimum requirements for the measurement of respirable crystalline silica | 2021-09 | standard | ISO | ISO/TC 146/SC 2 | WG 7
workplace air | crystalline silica | test methods |  | EN 17289-1:2020 | Characterization of bulk materials — Determination of a sizeweighted fine fraction and crystalline silica content — Part 1: General information and choice of test methods | 2020-12 | standard | CEN | CEN/TC 137 | WG 3
workplace air | crystalline silica | sedimentation method |  | EN 17289-2:2020 | Characterization of bulk materials — Determination of a sizeweighted fine fraction and crystalline silica content — Part 2: Calculation method | 2020-12 | standard | CEN | CEN/TC 137 | WG 3
workplace air | crystalline silica | calculation method |  | EN 17289-3:2020 | Characterization of bulk materials — Determination of a sizeweighted fine fraction and crystalline silica content — Part 3: Sedimentation method | 2020-12 | standard | CEN | CEN/TC 137 | WG 3
workplace air | organic isocyanate groups | liquid chromatography |  | ISO 16702:2007 | Workplace air quality — Determination of total organic isocyanate groups in air using 1-(2-methoxyphenyl)piperazine and liquid chromatography | 2007-12 | standard | ISO | ISO/TC 146/SC 2
workplace air | hexavalent chromium | ion chromatography spectrophotometric measurement |  | ISO 16740:2005 | Workplace air — Determination of hexavalent chromium in airborne particulate matter — Method by ion chromatography and spectrophotometric measurement using diphenyl carbazide | 2005-02 | standard | ISO | ISO/TC 146/SC 2
workplace air | ultrafine aerosols/nanoaerosols | condensation particle counters |  | EN 16897:2017 | Workplace exposure — Characterization of ultrafine aerosols/nanoaerosols — Determination of number concentration using condensation particle counters | 2017-06 | standard | CEN | CEN/TC 137 | WG 3
workplace air | LiOH, NaOH, KOH, Ca(OH)2 | ion chromatography |  | ISO 17091:2013 | Workplace air — Determination of lithium hydroxide, sodium hydroxide, potassium hydroxide and calcium hydroxide — Method by measurement of corresponding cations by suppressed ion chromatography | 2013-09 | standard | ISO | ISO/TC 146/SC 2
workplace air | detector tube | test method |  | ISO 17621:2015 EN ISO 17621:2015 | Workplace atmospheres — Short term detector tube measurement systems — Requirements and test methods (Revision of EN 1231:1996) | 2015-10 | standard | VA | ISO/TC 146/SC 2 | WG 9
workplace air | mercury | CVAAS, CVAFS |  | ISO 17733:2015 | Workplace air — Determination of mercury and inorganic mercury compounds — Method by cold-vapour atomic absorption spectrometry of atomic fluorescence spectrometry | 2025-12 | standard | ISO | ISO/TC 146/SC 2
workplace air | organonitrogen compounds | LC-MS |  | ISO 17734-1:2013 | Determination of organonitrogen compounds in air using liquid chromatography and mass spectrometry — Part 1: Isocyanates using dibutylamine derivatives | 2013-12 | standard | ISO | ISO/TC 146/SC 2
workplace air | organonitrogen compounds | LC-MS |  | ISO 17734-2:2013 | Determination of organonitrogen compounds in air using liquid chromatography and mass spectrometry — Part 2: Amines and aminoisocyanates using dibutylamine and ethyl chloroformate derivatives | 2013-12 | standard | ISO | ISO/TC 146/SC 2
workplace air | isocyanate | liquid chromatography |  | ISO 17735:2009 | Workplace atmospheres — Determination of total isocyanate groups in air using 1-(9-anthracenylmethyl)piperazine (MAP) reagent and liquid chromatography | 2009-03 | standard | ISO | ISO/TC 146/SC 2
workplace air | isocyanate | liquid chromatography |  | ISO 17735:2019 | Workplace atmospheres — Determination of total isocyanate groups in air using 1-(9-anthracenylmethyl)piperazine (MAP) reagent and liquid chromatography | 2019-04 | standard | ISO | ISO/TC 146/SC 2
workplace air | isocyanate | HP-LC |  | ISO 17736:2010 | Workplace air quality — Determination of isocyanate in air using a double-filter sampling device and analysis by high perssure liquid chromatography | 2010-12 | standard | ISO | ISO/TC 146/SC 2
workplace air | isocyanate | sampling |  | ISO/TR 17737:2012 | Workplace atmospheres — Guidelines for selecting analytical methods for sampling and analysing isocyanates in air | 2012-09 | TR | ISO | ISO/TC 146/SC 2
workplace air | terminology |  |  | ISO 18158:2016 | Workplace air — Terminology | 2016-03 | standard | ISO | ISO/TC 146/SC 2
workplace air | mercury | AAS, AFS |  | ISO 20552:2007 | Workplace air — Determination of mercury vapour — Method using gold-amalgam collection and analysis by atomic absorption spectrometry of atomic fluorescence spectrometry | 2007-02 | standard | ISO | ISO/TC 146/SC 2
workplace air | chemical agents |  |  | ISO 20581:2016 | Workplace air — General requirements for the performance of procedures for the measurement of chemical agents | 2016-11 | standard | ISO | ISO/TC 146/SC 2
workplace air | inorganic acids | ion chromatography |  | ISO 21438-1:2022 | Workplace atmospheres — Determination of inorganic acids by ion chromatography — Part 1: Non-volatile acids (sulfuric acid and phosphoric acid) | 2022-05 | standard | ISO | ISO/TC 146/SC 2
workplace air | inorganic acids | ion chromatography |  | ISO 21438-2:2009 | Workplace atmospheres — Determination of inorganic acids by ion chromatography — Part 2: Volatile acids, except hydrofluoric acid (hydrochloric acid, hydrobromic acid and nitric acid) | 2009-12 | standard | ISO | ISO/TC 146/SC 2
workplace air | inorganic acids | ion chromatography |  | ISO 21438-3:2010 | Workplace atmospheres — Determination of inorganic acids by ion chromatography — Part 3: Hydrofluoric acid and particulate fluorides | 2010-08 | standard | ISO | ISO/TC 146/SC 2
workplace air | nano-objects | dermal exposure |  | ISO/TS 21623:2017 CEN ISO/TS 21623:2018 | Workplace exposure — Assessment of dermal exposure to nano-objects and their aggregates and agglomerates (NOAA) | 2017-11 | TS | VA | ISO/TC 146/SC 2
workplace air | ultrafine aerosols/nanoaerosols |  |  | ISO/TR 27628:2007 | Workplace atmospheres — Ultrafine, nanoparticle and nano-structured aerosols — Inhalation exposure characterization and assessment | 2007-02 | TR | ISO | ISO/TC 146/SC 2
workplace air | ultrafine aerosols/nanoaerosols | differential electrical mobility analysing systems |  | ISO 28439:2011 EN ISO 28439:2011 | Workplace atmospheres — Characterization of ultrafine aerosols/nanoaerosols — Determination of the size distribution and number concentration using differential electrical mobility analysing systems | 2011-04 | standard | VA | ISO/TC 146/SC 2
workplace air | metals and metailloids | ICP-MS |  | ISO 30011:2010 | Workplace air — Determination of metals and metalloids in airborne particulate matter by inductively coupled plasma mass spectrometry | 2010-10 | standard | ISO | ISO/TC 146/SC 2
workplace air | nanoparticles | exposure assessment |  | EN 17058:2018 | Workplace exposure — Assessment of exposure by inhalation of nano-objects and their aggregates and agglomerates | 2018-11 | standard | CEN | CEN/TC 137 | WG 3
workplace air | chemical agents |  |  | EN 689:2018 + AC:2019 | Workplace exposure — Measurement of exposure by inhalation to chemical agents — Strategy for testing compliance with occupational exposure limit values | 2019-04 | standard | CEN | CEN/TC 137 | WG 1
workplace air | nanoparticles |  |  | EN 16966:2018 | Workplace exposure — Measurement of exposure by inhalation of nano-objects and their aggregates and agglomerates — Metrics to be used such as number concentration, surface area concentration and mass concentration | 2018-11 | standard | CEN | CEN/TC 137 | WG 3
workplace air | nanomaterials |  |  | EN 17199-1:2019 | Workplace exposure — Measurement of dustiness of bulk materials that contain or release nano-objects or submicrometer particles — Part 1: Requirements and choice of test methods | 2019-03 | standard | CEN | CEN/TC 137 | WG 3
workplace air | nanomaterials | rotating drum method |  | EN 17199-2:2019 | Workplace exposure — Measurement of dustiness of bulk materials that contain or release nano-objects or submicrometer particles — Part 2: Rotating drum method | 2019-03 | standard | CEN | CEN/TC 137 | WG 3
workplace air | nanomaterials | continuous drop method |  | EN 17199-3:2019 | Workplace exposure — Measurement of dustiness of bulk materials that contain or release nano-objects or submicrometer particles — Part 3: Continuous drop method | 2019-03 | standard | CEN | CEN/TC 137 | WG 3
workplace air | nanomaterials | small rotating drum method |  | EN 17199-4:2019 | Workplace exposure — Measurement of dustiness of bulk materials that contain or release nano-objects or submicrometer particles — Part 4: Small rotating drum method | 2019-03 | standard | CEN | CEN/TC 137 | WG 3
workplace air | nanomaterials | vortex shaker method |  | EN 17199-5:2019 | Workplace exposure — Measurement of dustiness of bulk materials that contain or release nano-objects or submicrometer particles — Part 5: Vortex shaker method | 2019-03 | standard | CEN | CEN/TC 137 | WG 3
workplace air | chemical agents |  |  | CEN/TR 17055:2017 | Workplace exposure — Measurement of chemical agents complying with the requirements given in EN 482 and either one of EN 838, EN 1076, EN 13205, EN 13890 and EN 13936 — Choice of procedures | 2017-02 | TR | CEN | CEN/TC 137 | WG 2
workplace air | toxic gases | gas detectors |  | IEC 62990-1:2019 | Workplace Atmospheres — Part 1: Gas detectors — Performance requirements of detectors for toxic gases | 2019-06 | standard | ISO | ISO/TC 146/SC 2
workplace air | toxic gases | gas detectors |  | IEC 62990-2:2021 | Workplace Atmospheres — Part 2: Gas detectors — Selection, installation, use and maintenance of detectors for toxic gases and vapours and oxygen | 2021-06 | standard | ISO | ISO/TC 146/SC 2
Note on E102: Jeroen Pieterse: Wordt nu herzien in CEN/TC 264/WG 2.

## ISO-TC 146
Commitee | Titel | Active
SC 1 | Stationary source emissions | yes
WG 1 | Total particulates | disbanded
WG 2 | Sulfur oxides | disbanded
WG 3 | Nitrogen oxides, manual methods | disbanded
WG 4 | Flow measurement | disbanded
WG 5 | Sampling strategies for gas concentration measurements | disbanded
WG 6 | Nitrogen oxides, automated methods | disbanded
WG 7 | Asbestos | disbanded
WG 8 | CO, CO2 and O2, automated methods | disbanded
WG 9 | PAH determination | disbanded
WG 10 | Sulfur dioxide - Ion chromatographic method | disbanded
WG 11 | Total dust at low concentration, manual method | disbanded
WG 12 | Continuous flow measurement | disbanded
WG 13 | Sulfur dioxide - Amendment to ISO 7934 | disbanded
WG 14 | Sampling and determination of fluoride content | disbanded
WG 15 | Particulate material in gas-carrying ducts (Revision of ISO 9096) | disbanded
WG 16 | Determination of the mass concentration of sulfur dioxide (Revision of ISO 7935) | disbanded
WG 17 | Combined automatic measurements | disbanded
WG 18 | Sampling for the automatic determination of gas concentrations (Revision of ISO 10396) | disbanded
WG 19 | N2O | disbanded
WG 20 | PM10/2,5 mass concentration in flue gas | disbanded
WG 21 | Mass concentration of PM10/2,5 using dilution techniques | disbanded
WG 22 | Methane | disbanded
WG 23 | Test methods on cleanable filter media | disbanded
WG 24 | Determination of Total Volatile Organic Carbon (TVOC) | disbanded
WG 25 | Greenhouse gases - Automatic measuring systems (GHG-AMS) | disbanded
WG 26 | Biomass and fossil derived CO2 | disbanded
WG 27 | Selenium | disbanded
WG 28 | Ammonia | disbanded
JWG 29 | GHG energy-intensive industries - General aspects | disbanded
WG 30 | GHG energy-intensive industries - Specific sectors | yes
WG 31 | Individual VOC in waste gas | disbanded
WG 32 | Mercury | yes
WG 33 | Ammonia | disbanded
WG 34 | Revision ISO 10849 ans ISO 7935 | yes
AHG 1 | Stationary source emissions – Determination of volume flowrate of fluorinated compounds (FCs) and N2O in ducts of semiconductor and display processes | yes
SC 2 | Workplace atmospheres | yes
WG 1 | Particle size-selective sampling and analysis | yes
WG 2 | Inorganic particulate matter | yes
WG 3 | Gases | yes
WG 4 | Organic vapours | yes
WG 5 | Inorganic fibres | yes
WG 6 | Volatile organic compounds (VOCs) in ambient, indoor and workplace air | disbanded
WG 7 | Silica | yes
WG 8 | Assessment of contamination of skin and surfaces from airborne chemicals | yes
WG 9 | Sampling pump performance | yes
WG 10 | Terminology and quality control in workplace air | yes
SC 3 | Ambient atmospheres | yes
WG 1 | Determination of asbestos fibre content | yes
WG 2 | Determination of particulate lead and cadmium content | disbanded
WG 3 | Determination of the concentration of hydrogen sulfide a) Spectrometric method b) Gas chromatographic and flame photometric method | disbanded
WG 4 | Determination of the concentration of nitrogen dioxide in air - Modified Griess Saltzman method | disbanded
WG 5 | Determination of the concentration of nitrogen oxides - Chemiluminescence method | disbanded
WG 6 | Determination of the concentration of carbon monoxide - Gas chromatographic method | disbanded
WG 7 | Determination of the concentration of sulfur dioxide in air - Tetrachloromercurate (TCM) method | disbanded
WG 8 | Determination of ozone - UV method | disbanded
WG 9 | Classification of particle populations | disbanded
WG 10 | Total suspended particles - High volume sampling | disbanded
WG 11 | Gaseous and particulate fluoride determination | disbanded
WG 12 | Measurement of atmospheric dustfall - Horizontal deposit gauge method | disbanded
WG 13 | Determination of non-methane hydrocarbons | disbanded
WG 14 | Determination of black smoke | disbanded
WG 15 | Determination of sulfur dioxide by ultraviolet fluorescence | disbanded
WG 17 | Determination of polycyclic aromatic hydrocarbons | disbanded
WG 18 | Determination of discrete small mass of solid matter by adsorption of beta rays | disbanded
WG 19 | Methods for collecting airborne particulate matter | disbanded
WG 20 | Determination of ammonia in gas phase and ammonium ion in particulate matter | disbanded
WG 21 | Determination of carbon monoxide - Non dispersive infrared method | disbanded
WG 22 | Measurement of particulate matter in ambient air from transportation sources | yes
SC 4 | General aspects | yes
WG 1 | Terminology | dormant
WG 2 | Uncertainty of air quality measurements | dormant
WG 3 | Data presentation | disbanded
WG 4 | Performance characteristics of air quality measuring methods | disbanded
WG 5 | Sampling strategies for workplace atmospheres | disbanded
WG 6 | Pressure, temperature and humidity data handling | disbanded
WG 7 | Performance requirements | disbanded
WG 8 | Data exchange format | disbanded
WG 8 | Validation of measurement methods | yes
SC 5 | Meteorology | yes
WG 1 | Wind vanes and rotating anemometers | disbanded
WG 2 | Sonic anemometers/thermometers | disbanded
WG 3 | Test methods for comparing the performance of radiation shields and definitions of important characteristics | disbanded
WG 4 | Evaluation methods for atmospheric dispersion models | disbanded
WG 5 | Remote atmospheric boundary layer profiling - Test methods for ground based equipment | disbanded
WG 6 | Lidar | yes
WG 7 | Weather radar | yes
WG 8 | Radar wind profiler | yes
WG 9 | Visibility sensors | yes
WG 10 | Snow depth sensors | yes
SC 6 | Indoor air | yes
WG 1 | General sampling strategy for indoor air pollutants | disbanded
WG 2 | Determination of formaldehyde in indoor air | disbanded
WG 3 | Determination of volatile organic compounds (VOCs) in indoor air | yes
WG 4 | Asbestos - Mineral fibres | disbanded
WG 5 | Volatile organic compounds (VOCs) in ambient, indoor and workplace air | disbanded
WG 6 | Ventilation rate measurement | disbanded
WG 7 | Measurement and sampling strategy of nitrogen dioxide (NO2) | disbanded
WG 8 | Sampling strategy for dioxins/furans and PCBs | disbanded
WG 9 | Measurement of dioxins and PCBs | disbanded
WG 10 | Fungi | yes
WG 11 | Performance tests for sorption | disbanded
WG 12 | Semi-volatile organic compunds in building products | disbanded
WG 13 | Determination of volatile organic compounds in car interiors | yes
WG 14 | Sensory testing | disbanded
WG 15 | Sampling strategy for CO2 | disbanded
WG 16 | Test methods for VOC detectors | disbanded
WG 17 | Sensory testing of indoor air | yes
WG 18 | Flame retardants | yes
WG 19 | Investigation of constructions | disbanded
WG 20 | Determination of phthalates | yes
WG 21 | Strategies for the measurement of airborne particles | yes
WG 22 | Brominated flame retardants | yes
WG 23 | Determination of amines | yes
WG 24 | IAQ management system | yes
WG 25 | Testing air cleaners by the assessment of perceived air quality | yes

## CEN-TC 137
WG | Titel | Active
WG 1 | Monitoring strategy | yes
WG 2 | General requirements for measuring procedures | yes
WG 3 | Particulate matter | yes
WG 4 | Definitions | disbanded
WG 5 | Measurement of biological agents | stand-by
WG 6 | Dermal exposure | yes

## CEN-TC 264
WG | Titel | Active
WG 1 | Emissions – Dioxins and PCB | yes
WG 2 | Emissions – Dynamic olfactometry for the determination of odour concentration | disbanded
WG 3 | Emissions – HCl and HF | disbanded
WG 4 | Total gaseous organic carbon (emissions) | disbanded
WG 5 | Emissions – Total dust at low concentrations | disbanded
WG 6 | Suspended particulate matter below 10 micro meter (ambient air) | disbanded
WG 7 | Building materials - Determination of volatile compounds - Emission test chamber methods | disbanded
WG 8 | Emissions – Total mercury | yes
WG 9 | Emissions – Quality assurance of AMS | yes
WG 10 | Determination of the total emission of specific elements | disbanded
WG 11 | Ambient air – Diffusive samplers | yes
WG 12 | Ambient air – VOCs/SO2/NO2/O3/CO | yes
WG 13 | Reference method for determination of benzene in ambient air | yes
WG 14 | Reference method for determination of Pb/Cd/As/Ni in ambient air | disbanded
WG 15 | Ambient air – PM10/PM2,5 | yes
WG 16 | Emissions – NOx/SOx/O2/CO/CO2/water vapour/equivalence of method | disbanded
WG 17 | Fugitive and diffuse emissions of common concern to industry sectors | disbanded
WG 18 | Open path optical methods for the measurement of ambient air quality | disbanded
WG 19 | Emissions monitoring strategy | disbanded
WG 20 | Air quality - Deposition measurements of heavy metals | disbanded
WG 21 | Ambient air - PAHs | yes
WG 22 | Certification scheme for AMS | disbanded
WG 23 | Manual and automatic measurement of velocity and volumetric flow in ducts | disbanded
WG 24 | Quantification of mass emission | disbanded
WG 25 | Mercury measurement methods in ambient air and deposition | disbanded
WG 26 | Emissions into indoor air | disbanded
WG 27 | Ambient air – Odour exposure by field inspection | disbanded
WG 28 | Ambient air and emissions – Bioaerosols | yes
WG 29 | Ambient air - Monitoring of genetically modified organisms (GMO) | disbanded
WG 30 | Ambient air – Biomonitoring with flowering plants | yes
WG 31 | Biomonitoring methods with mosses and lichens | disbanded
WG 32 | Ambient air – Particle number concentration | yes
WG 33 | Emissions –GHG in energy-intensive industries | yes
WG 34 | Ambient air – Anions/cations in PM | disbanded
WG 35 | Ambient air – EC/OC | yes
WG 36 | Emissions – FTIR instruments | disbanded
WG 37 | Emissions – Predictive Emission Monitoring Systems (PEMS) | disbanded
WG 38 | Emissions – Diffuse VOC | yes
WG 39 | Ambient air – Airborne pollen grains and fungal spores | yes
WG 40 | Emissions – Formaldehyde | yes
WG 41 | Emissions and ambient air – Instrumental odour monitoring | yes
WG 42 | Ambient air – Air quality sensors | yes
WG 43 | Ambient air – Modelling quality objectives | yes
WG 44 | Ambient air – Source apportionment | yes
WG 45 | Emissions – Proficiency testing schemes | yes
WG 46 | Emissions – Task Force Emissons (TFE) | yes
WG 47 | Emissions – Diffuse emissions from building vents and roof openings | yes

## Abbreviations
Abbreviation | Meaning
PWI | Preliminary Work Item
AWI | Approved Work Item
WD | Working Draft
CD | Committee Draft
DIS | Draft International Standard
FDIS | Final Draft International Standard
ISO | International Standard
prEN | Draft European Standard
FprEN | Final Draft European Standard
EN | European Standard
TS | Technical Specification
TR | Technical Report
RM | Reference Method
SM | Standard Method
SRM | Standard Reference Method
Rev | Revision